## Batch Release QC
Purely Plant GmbH — Production Batches QC Result Register
Outsourced-laboratory release results, one row per certificate. Reference values below are the current Ph. Eur. 07/2024:3028 release specification; each row is traceable to its CoA code, date and institution.
No. | Batch number | P-number | Strain | THC % | THC spec | CBD % | CBN % | Loss on drying % | TAMC CFU/g | TYMC CFU/g | Bile-tolerant GNB /1 g | Salmonella /25 g | E. coli /1 g | Aflatoxins Σ µg/kg | Aflatoxin B1 µg/kg | Ochratoxin A µg/kg | Pb mg/kg | Cd mg/kg | As mg/kg | Hg mg/kg | Pesticides | CoA code | Date of issue | Issuing institution | PDF
Ref. |  |  |  | per-batch label range | % w/w (label claim) | < 1.00 % | < 1.00 % | ≤ 12.00 (3028) | ≤ 10⁵ (max 500 000) | ≤ 10⁴ (max 50 000) | ≤ 10⁴ CFU/g | Absent | Absent | ≤ 4 | ≤ 2 | per PP spec | ≤ 0.5 | ≤ 0.3 | ≤ 0.2 | ≤ 0.1 | ≤ LOQ 0.01 mg/kg
1 | BG1024 |  | Blue Gelato | 21.80 | / | 0.04 | / | 5.73 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25050 | 26.02.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.01 | 0.016 | 0.014 | 0.005 | N.D. | 752/2025 | 27.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.6×10⁴ | 1×10³ | <10² and >10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 163/0271/25 | 24.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | 26.14 | ≥ 5.00 % | <LOQ | 0.02 | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-1-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-1-М/26 | 10.08.2026 | Farmahem | Open
2 | BSS1024 |  | Blue Sunset Sherbet | 21.03 | / | 0.04 | / | 5.99 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25051 | 26.02.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.071 | 0.014 | 0.081 | 0.014 | N.D. | 751/2025 | 27.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.5×10⁴ | 2.2×10³ | <10² and >10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 161/0269/25 | 24.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | 25.01 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-2-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-2-М/26 | 10.08.2026 | Farmahem | Open
3 | CJ1024 |  | Cup Junky | 23.00 | / | 0.05 | / | 5.91 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25052 | 26.02.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.036 | 0.013 | 0.063 | 0.006 | N.D. | 750/2025 | 27.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 8.4×10³ | <10 | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 164/0272/25 | 24.02.2025 | IPH — Institute of Public Health | Open
4 | GG1024_01 | P050092 | Gorilla Glue | 17.22 | / | 0.05 | / | 7.54 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25104 | 17.04.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.02 | 0.007 | 0.015 | 0.005 | N.D. | 1766/2025 | 11.04.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 5.1×10⁴ | 4.2×10³ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 320/0587/25 | 14.04.2025 | IPH — Institute of Public Health | Open
|  |  |  | 18.67 | ≥ 5.00 % | <LOQ | 0.20 | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-9-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-9-М/26 | 10.08.2026 | Farmahem | Open
5 | GP0824_01 | P050102 | Grape Pie | 20.79 | / | 0.06 | / | 6.73 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25105 | 17.04.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.026 | 0.005 | 0.015 | 0.005 | N.D. | 1767/2025 | 11.04.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 4.2×10³ | 6×10² | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 319/0586/25 | 14.04.2025 | IPH — Institute of Public Health | Open
6 | MB0824_04 | P050032 | Motor Breath | 18.67 | / | 0.05 | / | 6.01 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25118 | 06.05.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.031 | 0.005 | 0.011 | N.D. | N.D. | 2157/2025 | 07.05.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | <10 | <10 | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 406/0744/25 | 05.05.2025 | IPH — Institute of Public Health | Open
7 | OPM1024_01 | P050042 | Orange Punch Mimosa | 15.38 | / | 0.04 | / | 5.86 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25117 | 06.05.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.031 | 0.004 | 0.01 | 0.011 | N.D. | 2156/2025 | 07.05.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | <10 | <10 | <10² and >10 | Absent | Absent | / | / | / | / | / | / | / | / | 2156/2025 (microbiology sub-report lab-ref not distinctly captured in OCR text) | 07.05.2025 | IPH — Institute of Public Health | Open
8 | GG1024_02 | P050012 | Gorilla Glue | 15.95 | / | 0.05 | / | 6.88 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25140 | 22.05.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | N.D. | N.D. | N.D. | N.D. | N.D. | 2472/2025 | 30.05.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.1×10⁴ | 1.9×10⁴ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 472/0863/25 | 22.05.2025 | IPH — Institute of Public Health | Open
9 | HPA1024_01 | P050052 | High Pro Amnesia | 22.43 | / | 0.1 | / | 6.36 | / | / | / | / | / | / | / | / | / | / | / | / | / | НИК22155 (likely OCR misread of ППК25xxx) | 24.06.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.059 | 0.014 | 0.037 | 0.008 | N.D. | 2995/2025 | 19.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 9.6×10³ | 1.5×10⁴ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 587/1066/25 | 18.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | 21.61 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-14-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | 2.06 — DETECTED, >LOQ | / | / | / | / | / | 197-14-М/26 | 10.08.2026 | Farmahem | Open
10 | OPM1024_02 | P050062 | Orange Punch Mimosa | 18.27 | / | 0.05 | / | 6.89 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК21554 (likely OCR misread of ППК25xxx) | 24.06.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.052 | 0.011 | 0.028 | 0.061 | N.D. | 2994/2025 | 19.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 3.4×10³ | 3.6×10³ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 588/1067/25 | 13.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | 18.04 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-18-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-18-М/26 | 10.08.2026 | Farmahem | Open
11 | GP0824_02 | P050022 | Grape Pie | 23.19 | / | 0.07 | / | 6.51 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25174 | 10.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | N.D. | N.D. | 0.047 | N.D. | N.D. | 3176/2025 | 26.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | <10 | <10 | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 627/1128/25 | 02.07.2025 | IPH — Institute of Public Health | Open
|  |  |  | 22.61 | ≥ 5.00 % | <LOQ | 0.23 | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-11-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-11-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26032 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26033 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26059 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
12 | GP0824_03 | P050072 | Grape Pie | 25.45 | / | 0.08 | / | 6.58 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25175 | 10.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | N.D. | N.D. | 0.119 | N.D. | N.D. | 3178/2025 | 26.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.1×10⁴ | 1.2×10³ | <10¹ and >10³ | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 628/1129/25 | 02.07.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26034 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26035 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26060 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
13 | BSS1024_01 | P050122 | Blue Sunset Sherbet | 23.42 | / | 0.06 | / | 6.38 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25176 | 10.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | N.D. | N.D. | 0.112 | N.D. | N.D. | 3177/2025 | 26.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | <10 | <10 | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 626/1127/25 | 02.07.2025 | IPH — Institute of Public Health | Open
14 | OPM1024_03 | P050082 | Orange Punch Mimosa | 16.55 | / | 0.04 | / | 6.38 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25210 | 28.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.1 | not tested | not tested | N.D. | N.D. | 0.135 | 0.03 | N.D. | 3636/2025 | 28.07.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2×10² | 3×10² | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 766/1375/25 | 29.07.2025 | IPH — Institute of Public Health | Open
15 | MB0824_05 | P050112 | Motor Breath | 16.82 | / | 0.06 | / | 6.56 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК52211 (likely OCR misread of ППК25211) | 28.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2 | not tested | not tested | N.D. | N.D. | 0.086 | 0.006 | N.D. | 3638/2025 | 28.07.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 3.5×10³ | 1×10³ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 767/1376/25 | 29.07.2025 | IPH — Institute of Public Health | Open
16 | OPM052501 | P050132 | Orange Punch Mimosa | 14.16 | / | 0.04 | / | 8.28 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК52557 (likely OCR misread) | 05.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.1 | not tested | not tested | N.D. | N.D. | N.D. | N.D. | N.D. | 4157/2025 | 29.08.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.2×10⁴ | 3.3×10³ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 904/1589/25 | 02.09.2025 | IPH — Institute of Public Health | Open
17 | CJ052501-1 | P050162 | Cup Junky | 20.29 | / | 0.07 | / | 7.93 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25280 | 17.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.085 | N.D. | N.D. | N.D. | N.D. | 4350/2025 | 15.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.8×10⁴ | 1.7×10⁴ | <10³ and >10² | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 949/1687/25 | 17.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | 24.05 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-3-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-3-М/26 | 10.08.2026 | Farmahem | Open
18 | CJ052501-2 | P050172 | Cup Junky | 14.93 | / | 0.10 | / | 6.63 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25281 | 17.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.02 | N.D. | 0.042 | N.D. | N.D. | 4349/2025 | 15.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 9×10³ | 6.3×10³ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 947/1685/25 | 17.09.2025 | IPH — Institute of Public Health | Open
19 | GP052501 | P050152 | Grape Pie | 18.98 | / | 0.08 | / | 7.30 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25279 | 19.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.06 | N.D. | N.D. | N.D. | N.D. | 4348/2025 | 15.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.1×10⁴ | 3.6×10³ | <10² and >10¹ | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 946/1684/25 | 17.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | 18.52 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-10-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-10-М/26 | 10.08.2026 | Farmahem | Open
20 | HPA052501 | P050182 | High Pro Amnesia | 20.39 | / | 0.09 | / | 7.29 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25278 | 19.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.034 | N.D. | N.D. | N.D. | N.D. | 4352/2025 | 15.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.7×10⁴ | 2.6×10⁴ | <10¹ | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 948/1686/25 | 17.09.2025 | IPH — Institute of Public Health | Open
21 | GP062501 | P050202 | Grape Pie | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #016 | 04.10.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | 24.89 | 19.8 – 24.2 % | 0.17 | / | 8.19 (avg of 4 weighings 51-1,51-2,52-1,52-2) | / | / | / | / | / | / | / | / | / | / | / | / | / | In-house HPLC cross-check NPCCC/SCP-02, NGP/QCG/SOP-024 | 28.11.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.077 | 0.014 | 0.024 | 0.011 | Н.д. (not detected) | 4762/2025 | 08.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.3×10^4 | 4.2×10^3 | <10^1 and >10^1 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1009/1813/25 | 08.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 600 | 400 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1155/2056/25 | 24.11.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26036 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26037 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26057 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26058 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
22 | CJ062501-2 | P050212 | Cap Junkie | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #028 | 24.01.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 16.56 | 14.9 – 18.2 % | 0.14 | / | 6.70 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25322 | 23.10.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.026 | 0.002 | 0.011 | 0.012 | Н.д. (not detected) | 4908/2025 | 24.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.2×10^4 | 4.9×10^3 | < 10^4 and > 10^3 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1032/1851/25 | 17.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | 18.91 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-4-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-4-М/26 | 10.08.2026 | Farmahem | Open
23 | CJ062501-1 | P050222 | Cap Junkie | 21.51 | n/a (informational) | 0.07 | / | 7.77 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25321 | 23.10.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.037 | 0.002 | 0.027 | 0.017 | Н.д. (not detected) | 4907/2025 | 24.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | 20 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1217/2168/25 | 01.12.2025 | IPH — Institute of Public Health | Open
24 | BSS052501 | P050192 | Blue Sunset Sherbet | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #017 | 04.12.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | 20.39 | 19.8 – 24.2 % | 0.11 | / | 8.60 | / | / | / | / | / | / | / | / | / | / | / | / | / | In-house GC cross-check NGP/QCG/SOP-024 | 28.11.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | Not found any pesticide above LOQ (≤LOQ) — COMPLIES with USP and Ph.Eur. | 10802_2845/2 | 17.11.2025 | State Phytosanitary Laboratory | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | 0.024 | 0.004 | 0.025 | 0.0036 | / | 5661/2025 | 01.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | not tested | ND | <LOQ | / | / | / | / | / | 276-31-М/25 | 04.12.2025 | Farmahem | Open
|  |  |  | / | / | / | / | / | 200 | 200 | < 10^2 and > 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1157/2058/25 | 24.11.2025 | IPH — Institute of Public Health | Open
25 | CJ072501 | P050252 | Cup Junky | 23.70 | n/a (informational) | 0.09 | / | 8.22 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25367 | 28.11.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.013 | 0.004 | 0.011 | 0.002 | Н.д. (not detected) | 5697/2025 | 02.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 4.5×10^3 | 3.5×10^3 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1218/2169/25 | 01.12.2025 | IPH — Institute of Public Health | Open
26 | WC072501 | P050262 | Wedding Crasher | 22.11 | n/a (informational) | 0.06 | / | 8.94 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25369 | 28.11.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.023 | 0.005 | 0.006 | 0.01 | Н.д. (not detected) | 5699/2025 | 02.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 100 | 90 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1221/2172/25 | 01.12.2025 | IPH — Institute of Public Health | Open
27 | PM072501 | P050272 | Permanent Market | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #026 | 21.01.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 10.01 | 9 – 11.01 % | 0.04 | / | 9.52 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25368 | 28.11.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.021 | 0.001 | 0.012 | 0.003 | Н.д. (not detected) | 5698/2025 | 02.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 110 | 200 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1220/2171/25 | 01.12.2025 | IPH — Institute of Public Health | Open
28 | CLE072501 | P050282 | Clemosa a bud | 8.02 | 7.2 – 8.82 % | 0.04 | / | 9.68 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #027 / ППК25370 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25370 | 28.11.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.2 | not tested | not tested | 0.032 | 0.002 | 0.013 | 0.021 | Н.д. (not detected) | 5700/2025 | 02.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | < 10 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1219/2170/25 | 26.11.2025 | IPH — Institute of Public Health | Open
29 | GP072501-1 | P050292 | Grape Pie | 21.36 | 19.2 – 23.4 % | 0.11 | / | 6.62 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #018 / ППК25378 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25378 | Completed Nov-Dec 2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.028 | 0.003 | 0.03 | 0.025 | Н.д. (not detected) | 5886/2025 | 12.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 6×10^3 | 6.5×10^3 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1228/2194/25 | Issued ~Dec 2025 | IPH — Institute of Public Health | Open
30 | GP072501-2 | P050302 | Grape Pie | 19.81 | 17.8 – 21.7 % | 0.10 | / | 7.41 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #019 / ППК25379 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25379 | Completed Nov-Dec 2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.017 | 0.0028 | 0.02 | 0.019 | Н.д. (not detected) | 5887/2025 | 12.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2×10^2 | 3×10^2 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1229/2195/25 | Issued ~Dec 2025 | IPH — Institute of Public Health | Open
31 | GP082501-1 | P050312 | Grape Pie | 21.29 | 19.1 – 23.4 % | 0.08 | / | 6.29 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #020 / ППК25380 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25380 | Completed Nov-Dec 2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.014 | 0.003 | 0.02 | 0.017 | Н.д. (not detected) | 5888/2025 | 12.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 4.3×10^2 | 1×10^3 | < 10^3 and > 10^2 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1226/2192/25 | Issued Dec 2025 | IPH — Institute of Public Health | Open
32 | GP082501-2 | P050322 | Grape Pie | 14.83 | 13.3 – 16.3 % | 0.11 | / | 6.88 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #021 / ППК25381 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25381 | Completed Nov-Dec 2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.013 | 0.003 | 0.02 | 0.016 | Н.д. (not detected) | 5889/2025 | 12.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 3.2×10^3 | 5.8×10^3 | < 10 and > 10^3 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | Microbiology report (Dec 2025) | Issued Dec 2025 | IPH — Institute of Public Health | Open
|  |  |  | 15.70 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-12-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-12-М/26 | 10.08.2026 | Farmahem | Open
33 | WC082501 | P060012 | Wedding Crasher | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #035 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 21.67 | 19.5 – 23.83 % | 0.08 | / | 7.50 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26001 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | Н.д. | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 80/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 10 | 30 | < 10 | Odgovara (Absent) | < 10 | / | / | / | / | / | / | / | / | 3/0006/26 | 20.01.2026 | IPH — Institute of Public Health | Open
34 | CJ082501-1 | P060022 | Cap Junky | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #041 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 24.96 | 22.46 – 27.45 % | 0.09 | / | 7.21 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26002 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.075 | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 81/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.5×10^2 | 1.3×10^2 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 8/0011/26 | 20.01.2026 | IPH — Institute of Public Health | Open
35 | CJ082501-2 | P060032 | Cap Junky | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #034 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 20.84 | 18.75 – 22.92 % | 0.08 | / | 7.37 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26003 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.073 | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 82/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 9.5×10^2 | 1.2×10^3 | < 10^2 and > 10 | Odgovara (Absent) | < 10 | / | / | / | / | / | / | / | / | 4/0007/26 | 20.01.2026 | IPH — Institute of Public Health | Open
|  |  |  | 18.29 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-5-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-5-М/26 | 10.08.2026 | Farmahem | Open
36 | OPM092501 | P060042 | Orange Punch Mimosa | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #040 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 9.43 | 8.48 – 10.37 % | 0.04 | / | 7.85 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26008 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.2 | not tested | not tested | 0.022 | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 87/2026 | 03.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 10 | 10 | < 10^2 and > 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 2/0005/26 | 20.01.2026 | IPH — Institute of Public Health | Open
37 | AB092501 | P060052 | Apple and Banana | 16.93 | 15.23 – 18.62 % | 0.07 | / | 6.77 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #037 / ППК26005 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #037 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26005 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.05 | Н.д. | Н.д. | 0.003 | Н.д. (not detected) | 84/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | < 10 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 7/0010/26 | 20.01.2026 | IPH — Institute of Public Health | Open
38 | PM092501 | P060062 | Permanent Market | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #036 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 14.06 | 12.65 – 15.46 % | 0.05 | / | 7.97 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26004 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.03 | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 83/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2×10^3 | 2.2×10^3 | < 10 | Odgovara (Absent) | < 10 | / | / | / | / | / | / | / | / | 6/0009/26 | 20.01.2026 | IPH — Institute of Public Health | Open
|  |  |  | 12.25 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-20-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-20-М/26 | 10.08.2026 | Farmahem | Open
39 | CJ092501 | P060072 | Cap Junky | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #039 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 22.30 | 20.07 – 24.53 % | 0.10 | / | 7.64 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26007 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.04 | Н.д. | Н.д. | 0.004 | Н.д. (not detected) | 86/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | < 10 | < 10 | Odgovara (Absent) | < 10 | / | / | / | / | / | / | / | / | 10/0013/26 | 20.01.2026 | IPH — Institute of Public Health | Open
40 | SJ092501 | P060082 | Sleepy Joy | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #038 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 10.96 | 9.86 – 12.05 % | 0.07 | / | 8.68 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26006 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2 | not tested | not tested | 0.08 | Н.д. | Н.д. | 0.003 | Н.д. (not detected) | 85/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | < 10 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 9/0012/26 | 20.01.2026 | IPH — Institute of Public Health | Open
41 | GP092501 | P060092 | Grape Pie | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #033 | 20.02.2020 [see source] | Purely Plant GmbH (in-house) | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #033 |  | Purely Plant GmbH (in-house) | Open
|  |  |  | 25.73 | 23.15 – 28.3 % | 0.11 | / | 6.91 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26009 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | 1 x 10^2 | < 10 | < 10^2 and > 10 | Одговара (Complies/Absent) | Одговара (Complies/Absent) | / | / | / | / | / | / | / | / | 5/0008/26 | 20.01.2026 [see source] | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.022 | н.д. | н.д. | 0.007 | н.д. | 88/2026 | 03.02.2026 | IPH — Institute of Public Health | Open
42 | GRC102501-2 |  | Graps & Creme | / | / | / | / | 7.7 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-6-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 11.53 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-6-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
43 | J31102501 |  | Jokerz 31 | / | / | / | / | 6.3 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-1-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 19.14 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-1-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
44 | J31112501 |  | Jokerz 31 | / | / | / | / | 8.4 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-5-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 25.27 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-5-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | 7.6 | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-1-GS/26 | 09.04.2026 | Farmahem | Open
|  |  |  | 20.21 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-1-K/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
45 | KC102501 |  | Kush Crasher | / | / | / | / | 8.6 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-4-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 17.04 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-4-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
46 | SJ102501 |  | Sleepy Joy | / | / | / | / | 7.8 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-3-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 11.20 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-3-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
47 | SJ112501 |  | Sleepy Joy | / | / | / | / | 6.7 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-2-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 9.20 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-2-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
48 | OPM112501 |  | Orange Punch Mimosa | 8.00 | / | 0.02 | / | 8.06 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26031 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
49 | PM112501 |  | Permanent Market | 13.33 | / | 0.03 | / | 8.61 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26030 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
50 | J31122501 |  | Jokerz 31 | 19.84 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-2-К/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | 10.3 | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-2-ГС/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | 850 | 370 | < 10^2 and > 10 | Одговара (Complies/Absent) | Одговара (Complies/Absent) | / | / | / | / | / | / | / | / | 231/0394/26 (Racno trimiran cvet) | 07.04.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.5 | not tested | not tested | н.д. | н.д. | н.д. | н.д. | н.д. | 1628/2026 | 23.04.2026 | IPH — Institute of Public Health | Open
|  |  |  | 21.84 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-3-К/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | 10.3 | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-3-ГС/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | 1900 | 840 | < 10^3 and > 10^2 | Одговара (Complies/Absent) | Одговара (Complies/Absent) | / | / | / | / | / | / | / | / | 230/0393/26 (Trimiran cvet) | 07.04.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | COMPLIES (numeric value not present in captured source excerpt for report 1625/2026 — see Bundle cross-reference) | not tested | not tested | / | / | / | / | н.д. | 1625/2026 | 23.04.2026 | IPH — Institute of Public Health | Open
51 | OPM122501 |  | Orange Punch Mimosa | 8.09 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-4-К/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | 6.6 | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-4-ГС/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | 120 | 100 | < 10 | Одговара (Complies/Absent) | Одговара (Complies/Absent) | / | / | / | / | / | / | / | / | 229/0392/26 | 07.04.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.2 | not tested | not tested | 0.049 | 0.165 | н.д. | н.д. | н.д. | 1627/2026 | 23.04.2026 | IPH — Institute of Public Health | Open
52 | CC112501 |  | Cash Cow | 13.35 | / | 0.04 | / | 7.39 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26068 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
53 | FB012601 |  | Fat Bastard | 14.68 | / | 0.04 | / | 7.67 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26067 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
54 | FB112501 |  | Fat Bastard | 16.69 | / | 0.05 | / | 6.09 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26066 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
55 | GG012601 |  | Gorilla Glue | 15.35 | / | 0.06 | / | 6.13 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26062 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
56 | GG112501 |  | Gorilla Glue | 17.94 | / | 0.08 | / | 6.31 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26061 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
57 | JD012601 |  | Jelly Donutz | 18.16 | / | 0.06 | / | 6.68 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26064 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
58 | JD112501 |  | Jelly Donutz | 19.64 | / | 0.06 | / | 6.69 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26063 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 13.93 | / | 0.04 | / | 6.38 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26065 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
59 | SCR112501 |  | Scrambler | 17.13 | / | 0.04 | / | 6.84 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26069 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
60 | FB012603 |  | Fat Bastard | 20.83 | ≥ 5.00 % | 0.21 | 0.06 | 7.04 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26112 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
61 | FB012603V |  | FatBastard | 18.29 | ≥ 5.00 % | 0.16 | 0.06 | 6.36 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26110 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
62 | GG012603 |  | GorillaGlue | 17.59 | ≥ 5.00 % | 0.05 | 0.15 | 6.48 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26114 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
63 | JD012603-02 |  | JellyDonutz | 20.54 | ≥ 5.00 % | 0.05 | 0.05 | 7.52 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26113 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
64 | JD012603-02V |  | JellyDonutz | 15.16 | ≥ 5.00 % | BLQ (below limit of quantification) | 0.04 | 7.04 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26111 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
65 | JD022601 |  | JellyDonutz | 18.58 | ≥ 5.00 % | BLQ (below limit of quantification) | 0.05 | 7.73 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26115 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
66 | P160012 | P160012 | GrapePie | 26.32 | ≥ 5.00 % | 0.15 | 0.09 | 6.31 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26117 | 06.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
67 | P160022 | P160022 | GrapePie | 25.72 | ≥ 5.00 % | 0.15 | 0.10 | 6.67 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26118 | 06.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
68 | P160032 | P160032 | GrapePie | 24.78 | ≥ 5.00 % | 0.06 | 0.08 | 6.78 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26119 | 06.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
69 | SCR022601 |  | Scrambler | 21.92 | ≥ 5.00 % | 0.19 | 0.06 | 7.06 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26116 | 06.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
70 | FB032601 |  | FatBastard | 12.39 | ≥ 5.00 % | 0.06 | 0.04 | 7.77 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26127 | 21.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
71 | GG032601 |  | GorillaGlue | 18.98 | ≥ 5.00 % | 0.25 | 0.04 | 7.88 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26128 | 21.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
72 | P060152 | P060152 | Jokerz31 | 17.32 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-16-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-16-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
73 | P060212 | P060212 | JellyDonutz | 20.32 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-15-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-15-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
74 | P060242 | P060242 | OrangePunchMimosa | 7.91 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-19-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-19-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
75 | P060332 | P060332 | CashCow | 17.67 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-6-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-6-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
76 | P060352 | P060352 | FatBastard | 18.86 | ≥ 5.00 % | <LOQ | 0.22 | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-7-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-7-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
77 | P060382 | P060382 | Scrambler | 17.84 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-21-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-21-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
78 | P060402 | P060402 | GorillaGlue | 16.70 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-8-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-8-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
79 | HPA1024 |  | HighProAmnesia | 14.97 | 12.6 – 15.4 % | 0.04 | / | / | 5.2·10^4 | 7·10^2 | <10 | Absent | Absent | < 2 | not tested | not tested | 0.02 | 0.013 | 0.017 | 0.0026 | N.D. | n/a — Purely Plant in-house CoA (Batch HPA1024, no certificate/report number printed) | 23.01.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | 17.31 | ≥ 5.00 % | <LOQ | N.D. | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-13-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | <LOQ | / | / | / | / | / | 197-13-М/26 | 10.08.2026 | Farmahem | Open
80 | OPM1024 |  | OrangePunchMimosa | 19.96 | 18.0 – 22.0 % | 0.05 | / | / | 1.3·10^4 | 7·10^2 | <10²>10³ | Absent | Absent | < 2 | not tested | not tested | 0.031 | 0.017 | 0.045 | 0.005 | N.D. | n/a — Purely Plant in-house CoA (Batch OPM1024, no certificate/report number printed) | 23.04.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | 20.03 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-17-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-17-М/26 | 10.08.2026 | Farmahem | Open
LEGEND
n.d — not detected · BLQ — below limit of quantification · LOQ — limit of quantification
"/" — parameter not covered by that certificate
"not tested" — that mycotoxin sub-parameter (Aflatoxin B1 / Ochratoxin A) was not analysed on a certificate that assayed only total aflatoxins
Red — result the issuing laboratory declared out of specification
Amber — a laboratory finding or a data-integrity flag on the certificate
One row per certificate: a batch tested by several laboratories has one row each; batch identity is shown once and left blank on the continuation rows.

## Stability Testing Programme
Purely Plant GmbH — Stability testing programme
ICH long-term (25 °C / 60 % RH) and accelerated (40 °C / 75 % RH) timepoint analyses, grouped by batch. These are stability-study results only — they are NOT batch-release results and must not be used as release or CoA-register values. Initial (t=0) release values are in the 'Batch Release QC' sheet. Values transcribed verbatim from the UKIM certificates held in RAGflow dataset STABILITY_PROGRAMME.
Seq | Batch | Variety | Timepoint | Storage condition | Report No. | Date of issue | Laboratory | Loss on drying | CBDA | CBD | CBN | Δ⁹-THC | Δ⁹-THCA | Total CBD | Total Δ⁹-THC | Remark
[7 empty] | Specification | ≤ 10.00 % | / | / | ≤ 1.00 % | / | / | / | / | /
P050022 Grape Pie 3 analyses timepoints: 6 mo, 9 mo
1 | P050022 | Grape Pie | 6 months | 25°C / 60% RH | ППК26032 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 6.32 | 0.04 |  | 0.23 | 12.23 | 10.34 | 0.04 | 21.31
2 | P050022 | Grape Pie | 6 months | 40°C / 75% RH | ППК26033 | 25.03.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | 5.84 | 0.03 | 0.03 | 2.35 | 13.16 | 0.01 | 0.06 | 13.16 | CBN 2.35 % exceeds the ≤ 1.00 % limit stated on the certificate
3 | P050022 | Grape Pie | 9 months | 25°C / 60% RH | ППК26059 | 11.05.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 6.62 | 0.03 | 0.01 | 0.3 | 11.49 | 13.22 | 0.03 | 23.08
P050072 Grape Pie 3 analyses timepoints: 6 mo, 9 mo
4 | P050072 | Grape Pie | 6 months | 25°C / 60% RH | ППК26034 | 05.03.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | 5.92 | 0.04 |  | 0.05 | 9.97 | 16.7 | 0.04 | 24.62
5 | P050072 | Grape Pie | 6 months | 40°C / 75% RH | ППК26035 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 5.52 | 0.03 | ND | 2.15 | 14.98 | BLQ | 0.02 | 14.99 | CBN 2.15 % exceeds the ≤ 1.00 % limit stated on the certificate
6 | P050072 | Grape Pie | 9 months | 25°C / 60% RH | ППК26060 | 11.05.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | 7.07 | 0.04 | 0.01 | 0.04 | 15.14 | 12.36 | 0.04 | 25.98
P050202 Grape Pie 4 analyses timepoints: 3 mo, 6 mo
7 | P050202 | Grape Pie | 3 months | 25°C / 60% RH | ППК26036 | 05.03.2026 | Универзитет ,,Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 5.83 | 0.05 |  | 0.05 | 7.9 | 17.03 | 0.05 | 22.83
8 | P050202 | Grape Pie | 3 months | 40°C / 75% RH | ППК26037 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 5.38 | 0.02 | 0.03 | 0.19 | 18.47 | 0.17 | 0.06 | 18.62
9 | P050202 | Grape Pie | 6 months | 25°C / 60% RH | ППК26057 | 11.05.2026 | Sts. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | 6.85 | 0.05 | 0.01 | 0.04 | 13.49 | 12.57 | 0.05 | 24.51
10 | P050202 | Grape Pie | 6 months | 40°C / 75% RH | ППК26058 | 11.05.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 6.6 | 0.02 | 0.01 | 2.05 | 0.29 | 0.97 | 0.03 | 1.17 | CBN 2.05 % exceeds the ≤ 1.00 % limit stated on the certificate

## THC by Strain
Purely Plant GmbH — Total Δ⁹-THC by strain
Every production batch grouped by strain, with every Total Δ⁹-THC result on file, referenced to its certificate. BLQ / <LOQ values are shown but excluded from the numeric range. Stability-study results are included for completeness, shaded and marked 'STABILITY', and are excluded from the release range — a stability value is never a release value.
Seq | Batch number | P-number | Total Δ⁹-THC | Batch THC spec | CoA code | Date of issue | Issuing institution | Certificate
Apple and Banana 1 batch(es) Total Δ⁹-THC across batches (release): 16.93 %
1 | AB092501 | P060052 | 16.93% | 15.23 – 18.62 % | PP CoA #037 / ППК26005 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
Blue Gelato 1 batch(es) Total Δ⁹-THC across batches (release): 21.80 – 26.14 %
2 | BG1024 |  | 21.80% | / | ППК25050 | 26.02.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 26.14 %w/w (U 1.61) | ≥ 5.00 % | 197-1-К/26 | 07.08.2026 | Farmahem | Open
Blue Sunset Sherbet 3 batch(es) Total Δ⁹-THC across batches (release): 20.39 – 25.01 %
3 | BSS1024 |  | 21.03% | / | ППК25051 | 26.02.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 25.01 %w/w (U 1.54) | ≥ 5.00 % | 197-2-К/26 | 07.08.2026 | Farmahem | Open
4 | BSS1024_01 | P050122 | 23.42% | / | ППК25176 | 10.07.2025 | UKIM Faculty of Pharmacy | Open
5 | BSS052501 | P050192 | 20.39% | 19.8 – 24.2 % | In-house GC cross-check NGP/QCG/SOP-024 | 28.11.2025 | Purely Plant (in-house) | Open
Cash Cow 2 batch(es) Total Δ⁹-THC across batches (release): 13.35 – 17.67 %
6 | CC112501 |  | 13.35% |  | ППК26068 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
7 | P060332 | P060332 | 17.67 %w/w (U 1.09 %w/w, k=2) | ≥ 5.00 % | 197-6-К/26 | 07.08.2026 | Farmahem | Open
Clemosa a bud 1 batch(es) Total Δ⁹-THC across batches (release): 8.02 %
8 | CLE072501 | P050282 | 8.02% | 7.2 – 8.82 % | PP CoA #027 / ППК25370 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
Cup Junky 9 batch(es) Total Δ⁹-THC across batches (release): 14.93 – 24.96 %
9 | CJ1024 |  | 23.00% | / | ППК25052 | 26.02.2025 | UKIM Faculty of Pharmacy | Open
10 | CJ052501-1 | P050162 | 20.29% | / | ППК25280 | 17.09.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 24.05 %w/w (U 1.48) | ≥ 5.00 % | 197-3-К/26 | 07.08.2026 | Farmahem | Open
11 | CJ052501-2 | P050172 | 14.93% | / | ППК25281 | 17.09.2025 | UKIM Faculty of Pharmacy | Open
12 | CJ062501-2 | P050212 | 16.56% | 14.9 – 18.2 % | ППК25322 | 23.10.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 18.91% w/w (U 1.16% w/w) | ≥ 5.00 % | 197-4-К/26 | 07.08.2026 | Farmahem | Open
13 | CJ062501-1 | P050222 | 21.51% | n/a (informational) | ППК25321 | 23.10.2025 | UKIM Faculty of Pharmacy | Open
14 | CJ072501 | P050252 | 23.70% | n/a (informational) | ППК25367 | 28.11.2025 | UKIM Faculty of Pharmacy | Open
15 | CJ082501-1 | P060022 | 24.96% | 22.46 – 27.45 % | ППК26002 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
16 | CJ082501-2 | P060032 | 20.84% | 18.75 – 22.92 % | ППК26003 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
|  |  | 18.29% w/w (U 1.12% w/w) | ≥ 5.00 % | 197-5-К/26 | 07.08.2026 | Farmahem | Open
17 | CJ092501 | P060072 | 22.30% | 20.07 – 24.53 % | ППК26007 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
Fat Bastard 6 batch(es) Total Δ⁹-THC across batches (release): 12.39 – 20.83 %
18 | FB012601 |  | 14.68% |  | ППК26067 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
19 | FB112501 |  | 16.69% |  | ППК26066 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
20 | FB012603 |  | 20.83% | ≥ 5.00 % | ППК26112 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
21 | FB012603V |  | 18.29% | ≥ 5.00 % | ППК26110 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
22 | FB032601 |  | 12.39% | ≥ 5.00 % | ППК26127 | 21.07.2026 | UKIM Faculty of Pharmacy | Open
23 | P060352 | P060352 | 18.86 %w/w (U 1.16 %w/w, k=2) | ≥ 5.00 % | 197-7-К/26 | 07.08.2026 | Farmahem | Open
Gorilla Glue 7 batch(es) Total Δ⁹-THC across batches (release): 15.35 – 18.98 %
24 | GG1024_01 | P050092 | 17.22% | / | ППК25104 | 17.04.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 18.67 %w/w (U 1.15) | ≥ 5.00 % | 197-9-К/26 | 07.08.2026 | Farmahem | Open
25 | GG1024_02 | P050012 | 15.95% | / | ППК25140 | 22.05.2025 | UKIM Faculty of Pharmacy | Open
26 | GG012601 |  | 15.35% |  | ППК26062 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
27 | GG112501 |  | 17.94% |  | ППК26061 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
28 | GG012603 |  | 17.59% | ≥ 5.00 % | ППК26114 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
29 | GG032601 |  | 18.98% | ≥ 5.00 % | ППК26128 | 21.07.2026 | UKIM Faculty of Pharmacy | Open
30 | P060402 | P060402 | 16.70 %w/w (U 1.03 %w/w, k=2) | ≥ 5.00 % | 197-8-К/26 | 07.08.2026 | Farmahem | Open
Grape Pie 13 batch(es) Total Δ⁹-THC across batches (release): 14.83 – 26.32 %
31 | GP0824_01 | P050102 | 20.79% | / | ППК25105 | 17.04.2025 | UKIM Faculty of Pharmacy | Open
32 | GP0824_02 | P050022 | 23.19% | / | ППК25174 | 10.07.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 22.61 %w/w (U 1.39) | ≥ 5.00 % | 197-11-К/26 | 07.08.2026 | Farmahem | Open
|  |  | 21.31% (stability 6 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26032 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
|  |  | 13.16% (stability 6 mo, 40°C / 75% RH) | STABILITY — not a release value | ППК26033 | 25.03.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | Open
|  |  | 23.08% (stability 9 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26059 | 11.05.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
33 | GP0824_03 | P050072 | 25.45% | / | ППК25175 | 10.07.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 24.62% (stability 6 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26034 | 05.03.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | Open
|  |  | 14.99% (stability 6 mo, 40°C / 75% RH) | STABILITY — not a release value | ППК26035 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
|  |  | 25.98% (stability 9 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26060 | 11.05.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | Open
34 | GP052501 | P050152 | 18.98% | / | ППК25279 | 19.09.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 18.52 %w/w (U 1.14) | ≥ 5.00 % | 197-10-К/26 | 07.08.2026 | Farmahem | Open
35 | GP062501 | P050202 | 24.89% | 19.8 – 24.2 % | In-house HPLC cross-check NPCCC/SCP-02, NGP/QCG/SOP-024 | 28.11.2025 | Purely Plant (in-house) | Open
|  |  | 22.83% (stability 3 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26036 | 05.03.2026 | Универзитет ,,Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
|  |  | 18.62% (stability 3 mo, 40°C / 75% RH) | STABILITY — not a release value | ППК26037 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
|  |  | 24.51% (stability 6 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26057 | 11.05.2026 | Sts. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | Open
|  |  | 1.17% (stability 6 mo, 40°C / 75% RH) | STABILITY — not a release value | ППК26058 | 11.05.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
36 | GP072501-1 | P050292 | 21.36% | 19.2 – 23.4 % | PP CoA #018 / ППК25378 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
37 | GP072501-2 | P050302 | 19.81% | 17.8 – 21.7 % | PP CoA #019 / ППК25379 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
38 | GP082501-1 | P050312 | 21.29% | 19.1 – 23.4 % | PP CoA #020 / ППК25380 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
39 | GP082501-2 | P050322 | 14.83% | 13.3 – 16.3 % | PP CoA #021 / ППК25381 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
|  |  | 15.70% w/w (U 0.96% w/w) | ≥ 5.00 % | 197-12-К/26 | 07.08.2026 | Farmahem | Open
40 | GP092501 | P060092 | 25.73% | 23.15 – 28.3 % | ППК26009 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
41 | P160012 | P160012 | 26.32% | ≥ 5.00 % | ППК26117 | 06.07.2026 | UKIM Faculty of Pharmacy | Open
42 | P160022 | P160022 | 25.72% | ≥ 5.00 % | ППК26118 | 06.07.2026 | UKIM Faculty of Pharmacy | Open
43 | P160032 | P160032 | 24.78% | ≥ 5.00 % | ППК26119 | 06.07.2026 | UKIM Faculty of Pharmacy | Open
Graps & Creme 1 batch(es) Total Δ⁹-THC across batches (release): 11.53 %
44 | GRC102501-2 |  | 11.53 %w/w (U ±0.71) | / | 051-6-K/26 | 04.03.2026 | Farmahem | Open
High Pro Amnesia 3 batch(es) Total Δ⁹-THC across batches (release): 14.97 – 22.43 %
45 | HPA1024_01 | P050052 | 22.43% | / | НИК22155 (likely OCR misread of ППК25xxx) | 24.06.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 21.61 %w/w (U 1.33) | ≥ 5.00 % | 197-14-К/26 | 07.08.2026 | Farmahem | Open
46 | HPA052501 | P050182 | 20.39% | / | ППК25278 | 19.09.2025 | UKIM Faculty of Pharmacy | Open
47 | HPA1024 |  | 14.97% | 12.6 – 15.4 % | n/a — Purely Plant in-house CoA (Batch HPA1024, no certificate/report number printed) | 23.01.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 17.31 %w/w (U 1.06 %w/w, k=2) | ≥ 5.00 % | 197-13-К/26 | 07.08.2026 | Farmahem | Open
Jelly Donutz 6 batch(es) Total Δ⁹-THC across batches (release): 13.93 – 20.54 %
48 | JD012601 |  | 18.16% |  | ППК26064 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
49 | JD112501 |  | 19.64% |  | ППК26063 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
|  |  | 13.93% |  | ППК26065 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
50 | JD012603-02 |  | 20.54% | ≥ 5.00 % | ППК26113 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
51 | JD012603-02V |  | 15.16% | ≥ 5.00 % | ППК26111 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
52 | JD022601 |  | 18.58% | ≥ 5.00 % | ППК26115 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
53 | P060212 | P060212 | 20.32 %w/w (U 1.25 %w/w, k=2) | ≥ 5.00 % | 197-15-К/26 | 07.08.2026 | Farmahem | Open
Jokerz 31 4 batch(es) Total Δ⁹-THC across batches (release): 17.32 – 25.27 %
54 | J31102501 |  | 19.14 %w/w (U ±1.18) | / | 051-1-K/26 | 04.03.2026 | Farmahem | Open
55 | J31112501 |  | 25.27 %w/w (U ±1.55) | / | 051-5-K/26 | 04.03.2026 | Farmahem | Open
|  |  | 20.21 %w/w (U ±1.24) | / | 100-1-K/26 | 09.04.2026 | Farmahem | Open
56 | J31122501 |  | 19.84 %w/w (U ±1.22) | / | 100-2-К/26 | 09.04.2026 | Farmahem | Open
|  |  | 21.84 %w/w (U ±1.34) | / | 100-3-К/26 | 09.04.2026 | Farmahem | Open
57 | P060152 | P060152 | 17.32 %w/w (U 1.06 %w/w, k=2) | ≥ 5.00 % | 197-16-К/26 | 07.08.2026 | Farmahem | Open
Kush Crasher 1 batch(es) Total Δ⁹-THC across batches (release): 17.04 %
58 | KC102501 |  | 17.04 %w/w (U ±1.05) | / | 051-4-K/26 | 04.03.2026 | Farmahem | Open
Motor Breath 2 batch(es) Total Δ⁹-THC across batches (release): 16.82 – 18.67 %
59 | MB0824_04 | P050032 | 18.67% | / | ППК25118 | 06.05.2025 | UKIM Faculty of Pharmacy | Open
60 | MB0824_05 | P050112 | 16.82% | / | ППК25211 | 28.07.2025 | UKIM Faculty of Pharmacy | Open
Orange Punch Mimosa 9 batch(es) Total Δ⁹-THC across batches (release): 7.91 – 20.03 %
61 | OPM1024_01 | P050042 | 15.38% | / | ППК25117 | 06.05.2025 | UKIM Faculty of Pharmacy | Open
62 | OPM1024_02 | P050062 | 18.27% | / | ППК25154 | 24.06.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 18.04 %w/w (U 1.11) | ≥ 5.00 % | 197-18-К/26 | 07.08.2026 | Farmahem | Open
63 | OPM1024_03 | P050082 | 16.55% | / | ППК25210 | 28.07.2025 | UKIM Faculty of Pharmacy | Open
64 | OPM052501 | P050132 | 14.16% | / | ППК25257 | 05.09.2025 | UKIM Faculty of Pharmacy | Open
65 | OPM092501 | P060042 | 9.43% | 8.48 – 10.37 % | ППК26008 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
66 | OPM112501 |  | 8.00% | / | ППК26031 | 05.03.2026 | UKIM Faculty of Pharmacy | Open
67 | OPM122501 |  | 8.09 %w/w (U ±0.50) | / | 100-4-К/26 | 09.04.2026 | Farmahem | Open
68 | P060242 | P060242 | 7.91 %w/w (U 0.49 %w/w, k=2) | ≥ 5.00 % | 197-19-К/26 | 07.08.2026 | Farmahem | Open
69 | OPM1024 |  | 19.96% | 18.0 – 22.0 % | n/a — Purely Plant in-house CoA (Batch OPM1024, no certificate/report number printed) | 23.04.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 20.03 %w/w (U 1.23 %w/w, k=2) | ≥ 5.00 % | 197-17-К/26 | 07.08.2026 | Farmahem | Open
Permanent Market 3 batch(es) Total Δ⁹-THC across batches (release): 10.01 – 14.06 %
70 | PM072501 | P050272 | 10.01% | 9 – 11.01 % | ППК25368 | 28.11.2025 | UKIM Faculty of Pharmacy | Open
71 | PM092501 | P060062 | 14.06% | 12.65 – 15.46 % | ППК26004 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
|  |  | 12.25% w/w (U 0.75% w/w) | ≥ 5.00 % | 197-20-К/26 | 07.08.2026 | Farmahem | Open
72 | PM112501 |  | 13.33% | / | ППК26030 | 05.03.2026 | UKIM Faculty of Pharmacy | Open
Scrambler 3 batch(es) Total Δ⁹-THC across batches (release): 17.13 – 21.92 %
73 | SCR112501 |  | 17.13% |  | ППК26069 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
74 | SCR022601 |  | 21.92% | ≥ 5.00 % | ППК26116 | 06.07.2026 | UKIM Faculty of Pharmacy | Open
75 | P060382 | P060382 | 17.84 %w/w (U 1.10 %w/w, k=2) | ≥ 5.00 % | 197-21-К/26 | 07.08.2026 | Farmahem | Open
Sleepy Joy 3 batch(es) Total Δ⁹-THC across batches (release): 9.20 – 11.20 %
76 | SJ092501 | P060082 | 10.96% | 9.86 – 12.05 % | ППК26006 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
77 | SJ102501 |  | 11.20 %w/w (U ±0.69) | / | 051-3-K/26 | 04.03.2026 | Farmahem | Open
78 | SJ112501 |  | 9.20 %w/w (U ±0.57) | / | 051-2-K/26 | 04.03.2026 | Farmahem | Open
Wedding Crasher 2 batch(es) Total Δ⁹-THC across batches (release): 21.67 – 22.11 %
79 | WC072501 | P050262 | 22.11% | n/a (informational) | ППК25369 | 28.11.2025 | UKIM Faculty of Pharmacy | Open
80 | WC082501 | P060012 | 21.67% | 19.5 – 23.83 % | ППК26001 | 21.01.2026 | UKIM Faculty of Pharmacy | Open