## Batch Release QC
Purely Plant GmbH — Production Batches QC Result Register
Outsourced-laboratory release results, one row per certificate. Reference values below are the current Ph. Eur. 07/2024:3028 release specification; each row is traceable to its CoA code, date and institution.
No. | Batch number | P-number | Strain | THC % | THC spec | CBD % | CBN % | Loss on drying % | TAMC CFU/g | TYMC CFU/g | Bile-tolerant GNB /1 g | Salmonella /25 g | E. coli /1 g | Aflatoxins Σ µg/kg | Aflatoxin B1 µg/kg | Ochratoxin A µg/kg | Pb mg/kg | Cd mg/kg | As mg/kg | Hg mg/kg | Pesticides | CoA code | Date of issue | Issuing institution | PDF
Ref. |  |  |  | per-batch label range | % w/w (label claim) | < 1.00 % | < 1.00 % | ≤ 12.00 (3028) | ≤ 10⁵ (max 500 000) | ≤ 10⁴ (max 50 000) | ≤ 10⁴ CFU/g | Absent | Absent | ≤ 4 | ≤ 2 | per PP spec | ≤ 0.5 | ≤ 0.3 | ≤ 0.2 | ≤ 0.1 | ≤ LOQ 0.01 mg/kg
1 | BG1024 |  | Blue Gelato | 21.80 | / | 0.04 | / | 5.73 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25050 | 26.02.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.01 | 0.016 | 0.014 | 0.005 | N.D. | 752/2025 | 27.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.6×10⁴ | 1×10⁴ | <10² and >10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 163/0271/25 | 24.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | 26.14 | ≥ 5.00 % | <LOQ | 0.28 | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-1-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-1-М/26 | 10.08.2026 | Farmahem | Open
2 | BSS1024 |  | Blue Sunset Sherbet | 21.03 | / | 0.04 | / | 5.99 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25051 | 26.02.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.071 | 0.014 | 0.081 | 0.014 | N.D. | 751/2025 | 27.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.5×10⁴ | 2.2×10³ | <10² and >10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 161/0269/25 | 24.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | 25.01 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-2-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-2-М/26 | 10.08.2026 | Farmahem | Open
3 | CJ1024 |  | Cup Junky | 23.00 | / | 0.05 | / | 5.91 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25052 | 26.02.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.036 | 0.013 | 0.063 | 0.006 | N.D. | 750/2025 | 27.02.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 8.4×10³ | <10 | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 164/0272/25 | 24.02.2025 | IPH — Institute of Public Health | Open
4 | GG1024_01 | P050092 | Gorilla Glue | 17.22 | / | 0.05 | / | 7.54 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25104 | 17.04.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.02 | 0.007 | 0.015 | 0.005 | N.D. | 1766/2025 | 11.04.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 5.1×10⁴ | 4.2×10⁴ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 320/0587/25 | 14.04.2025 | IPH — Institute of Public Health | Open
|  |  |  | 18.67 | ≥ 5.00 % | <LOQ | 0.20 | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-9-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-9-М/26 | 10.08.2026 | Farmahem | Open
5 | GP0824_01 | P050102 | Grape Pie | 20.79 | / | 0.06 | / | 6.73 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25105 | 17.04.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.026 | 0.005 | 0.015 | 0.005 | N.D. | 1767/2025 | 11.04.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 4.2×10³ | 6×10³ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 318/0585/25 | 14.04.2025 | IPH — Institute of Public Health | Open
6 | MB0824_04 | P050032 | Motor Breath | 18.67 | / | 0.05 | / | 6.01 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25118 | 06.05.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.031 | 0.005 | 0.011 | N.D. | N.D. | 2157/2025 | 07.05.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | <10 | <10 | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 406/0744/25 | 05.05.2025 | IPH — Institute of Public Health | Open
7 | OPM1024_01 | P050042 | Orange Punch Mimosa | 15.38 | / | 0.04 | / | 5.86 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25117 | 06.05.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.031 | 0.004 | 0.01 | 0.001 | N.D. | 2156/2025 | 07.05.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | <10 | <10 | <10² and >10 | Absent | Absent | / | / | / | / | / | / | / | / | 2156/2025 (microbiology sub-report lab-ref not distinctly captured in OCR text) | 07.05.2025 | IPH — Institute of Public Health | Open
8 | GG1024_02 | P050012 | Gorilla Glue | 15.95 | / | 0.05 | / | 6.88 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25140 | 22.05.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | N.D. | N.D. | N.D. | N.D. | N.D. | 2472/2025 | 30.05.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.1×10⁴ | 1.9×10⁴ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 472/0863/25 | 22.05.2025 | IPH — Institute of Public Health | Open
9 | HPA1024_01 | P050052 | High Pro Amnesia | 22.43 | / | 0.1 | / | 6.36 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25155 | 24.06.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.059 | 0.014 | 0.037 | 0.008 | N.D. | 2995/2025 | 19.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 9.6×10³ | 1.5×10⁴ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 587/1066/25 | 18.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | 21.61 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-14-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | 2.06 — DETECTED, >LOQ | / | / | / | / | / | 197-14-М/26 | 10.08.2026 | Farmahem | Open
10 | OPM1024_02 | P050062 | Orange Punch Mimosa | 18.27 | / | 0.05 | / | 6.89 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25154 | 24.06.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.052 | 0.011 | 0.028 | 0.061 | N.D. | 2994/2025 | 19.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 3.4×10³ | 3.6×10³ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 588/1067/25 | 18.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | 18.04 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-18-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-18-М/26 | 10.08.2026 | Farmahem | Open
11 | GP0824_02 | P050022 | Grape Pie | 23.19 | / | 0.07 | / | 6.51 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25174 | 10.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 23.79 | / | 0.10 | 0.02 | 7.21 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25139 | 22.05.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | N.D. | N.D. | 0.047 | N.D. | N.D. | 3176/2025 | 26.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | <10 | <10 | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 627/1128/25 | 02.07.2025 | IPH — Institute of Public Health | Open
|  |  |  | 22.61 | ≥ 5.00 % | <LOQ | 0.23 | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-11-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-11-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | 21.31 | / | 0.03 | 0.23 | 6.32 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26032 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 13.16 | / | 0.05 | 2.35 | 5.84 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26033 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 23.08 | / | 0.03 | 0.30 | 6.62 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26059 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
12 | GP0824_03 | P050072 | Grape Pie | 25.45 | / | 0.08 | / | 6.58 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25175 | 10.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | N.D. | N.D. | 0.119 | N.D. | N.D. | 3178/2025 | 26.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.1×10⁴ | 1.2×10⁴ | <10¹ and >10³ | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 628/1129/25 | 02.07.2025 | IPH — Institute of Public Health | Open
|  |  |  | 24.62 | / | 0.04 | 0.05 | 5.92 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26034 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 14.99 | / | 0.02 | 2.15 | 5.52 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26035 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 25.98 | / | 0.04 | 0.04 | 7.07 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26060 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
13 | BSS1024_01 | P050122 | Blue Sunset Sherbet | 23.42 | / | 0.06 | / | 6.38 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25176 | 10.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | N.D. | N.D. | 0.112 | N.D. | N.D. | 3177/2025 | 26.06.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | <10 | <10 | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 626/1127/25 | 02.07.2025 | IPH — Institute of Public Health | Open
14 | OPM1024_03 | P050082 | Orange Punch Mimosa | 16.55 | / | 0.04 | / | 6.38 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25210 | 28.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.1 | not tested | not tested | N.D. | N.D. | 0.135 | 0.03 | N.D. | 3636/2025 | 28.07.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2×10² | 3×10² | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 766/1375/25 | 29.07.2025 | IPH — Institute of Public Health | Open
15 | MB0824_05 | P050112 | Motor Breath | 16.82 | / | 0.06 | / | 6.56 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25211 | 28.07.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2 | not tested | not tested | N.D. | N.D. | 0.086 | 0.006 | N.D. | 3638/2025 | 28.07.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 3.5×10³ | 1×10³ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 767/1376/25 | 29.07.2025 | IPH — Institute of Public Health | Open
16 | OPM052501 | P050132 | Orange Punch Mimosa | 14.16 | / | 0.04 | / | 8.28 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25257 | 05.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.1 | not tested | not tested | N.D. | N.D. | N.D. | N.D. | N.D. | 4157/2025 | 29.08.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.2×10⁴ | 3.3×10⁴ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 904/1589/25 | 02.09.2025 | IPH — Institute of Public Health | Open
17 | CJ052501-1 | P050162 | Cup Junky | 20.29 | / | 0.07 | / | 7.93 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25280 | 17.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.085 | N.D. | N.D. | N.D. | N.D. | 4350/2025 | 15.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.8×10⁴ | 1.7×10⁴ | <10³ and >10² | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 949/1687/25 | 17.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | 24.05 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-3-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-3-М/26 | 10.08.2026 | Farmahem | Open
18 | CJ052501-2 | P050172 | Cup Junky | 14.93 | / | 0.10 | / | 6.63 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25281 | 17.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.02 | N.D. | 0.042 | N.D. | N.D. | 4349/2025 | 15.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 9×10³ | 6.3×10³ | <10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 947/1685/25 | 17.09.2025 | IPH — Institute of Public Health | Open
19 | GP052501 | P050152 | Grape Pie | 18.98 | / | 0.08 | / | 7.30 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25279 | 19.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.06 | N.D. | N.D. | N.D. | N.D. | 4348/2025 | 15.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.1×10⁴ | 3.6×10⁴ | <10² and >10¹ | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 946/1684/25 | 17.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | 18.52 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-10-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-10-М/26 | 10.08.2026 | Farmahem | Open
20 | HPA052501 | P050182 | High Pro Amnesia | 20.39 | / | 0.09 | / | 7.29 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25278 | 19.09.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | <2 | not tested | not tested | 0.034 | N.D. | N.D. | N.D. | N.D. | 4352/2025 | 15.09.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.7×10⁴ | 2.6×10⁴ | < 10 | Одговара (absent) | Одговара (absent) | / | / | / | / | / | / | / | / | 948/1686/25 | 17.09.2025 | IPH — Institute of Public Health | Open
21 | GP062501 | P050202 | Grape Pie | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #016 | 04.10.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | 24.89 | 19.8 – 24.2 % | 0.17 | / | 8.19 (avg of 4 weighings 51-1,51-2,52-1,52-2) | / | / | / | / | / | / | / | / | / | / | / | / | / | In-house HPLC cross-check NPCCC/SCP-02, NGP/QCG/SOP-024 | 28.11.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.077 | 0.014 | 0.024 | 0.011 | Н.д. (not detected) | 4762/2025 | 08.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.3×10^4 | 4.2×10^3 | < 10^3 and > 10^2 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1009/1813/25 | 08.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 600 | 400 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1155/2056/25 | 24.11.2025 | IPH — Institute of Public Health | Open
|  |  |  | 22.83 | / | 0.05 | 0.05 | 5.83 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26036 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 18.62 | / | 0.04 | 1.09 | 5.38 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26037 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 24.51 | / | 0.05 | 0.04 | 6.85 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26057 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 17.05 | / | 0.03 | 2.05 | 6.60 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26058 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
22 | CJ062501-2 | P050212 | Cap Junkie | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #028 | 24.01.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 16.56 | 14.9 – 18.2 % | 0.14 | / | 6.70 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25322 | 23.10.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.026 | 0.002 | 0.011 | 0.012 | Н.д. (not detected) | 4908/2025 | 24.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2.2×10^4 | 4.9×10^4 | < 10^4 and > 10^3 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1032/1851/25 | 17.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | 18.91 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-4-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-4-М/26 | 10.08.2026 | Farmahem | Open
23 | CJ062501-1 | P050222 | Cap Junkie | 21.51 | n/a (informational) | 0.07 | / | 7.77 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25321 | 23.10.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.037 | 0.002 | 0.027 | 0.017 | Н.д. (not detected) | 4907/2025 | 24.10.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | 20 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1217/2168/25 | 01.12.2025 | IPH — Institute of Public Health | Open
24 | BSS052501 | P050192 | Blue Sunset Sherbet | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #017 | 04.12.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | 20.39 | 19.8 – 24.2 % | 0.11 | / | 8.60 | / | / | / | / | / | / | / | / | / | / | / | / | / | In-house GC cross-check NGP/QCG/SOP-024 | 28.11.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | Not found any pesticide above LOQ (≤LOQ) — COMPLIES with Ph. Eur. | 10802_2845/2 | 17.11.2025 | State Phytosanitary Laboratory | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | 0.024 | 0.004 | 0.025 | 0.0036 | / | 5661/2025 | 01.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | not tested | ND | <LOQ | / | / | / | / | / | 276-31-М/25 | 04.12.2025 | Farmahem | Open
|  |  |  | / | / | / | / | / | 200 | 200 | < 10^2 and > 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1157/2058/25 | 24.11.2025 | IPH — Institute of Public Health | Open
25 | CJ072501 | P050252 | Cup Junky | 23.70 | n/a (informational) | 0.09 | / | 8.22 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25367 | 28.11.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.013 | 0.004 | 0.011 | 0.002 | Н.д. (not detected) | 5697/2025 | 02.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 4.5×10^3 | 3.5×10^3 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1218/2169/25 | 01.12.2025 | IPH — Institute of Public Health | Open
26 | WC072501 | P050262 | Wedding Crasher | 22.11 | n/a (informational) | 0.06 | / | 8.94 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25369 | 28.11.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.023 | 0.005 | 0.006 | 0.01 | Н.д. (not detected) | 5699/2025 | 02.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 100 | 90 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1221/2172/25 | 01.12.2025 | IPH — Institute of Public Health | Open
27 | PM072501 | P050272 | Permanent Market | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #026 | 21.01.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 10.01 | 9 – 11.01 % | 0.04 | / | 9.52 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25368 | 28.11.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.021 | 0.001 | 0.012 | 0.003 | Н.д. (not detected) | 5698/2025 | 02.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 110 | 200 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1220/2171/25 | 01.12.2025 | IPH — Institute of Public Health | Open
28 | CLE072501 | P050282 | Clemosa a bud | 8.02 | 7.2 – 8.82 % | 0.04 | / | 9.68 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #027 / ППК25370 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25370 | 28.11.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.2 | not tested | not tested | 0.032 | 0.002 | 0.013 | 0.021 | Н.д. (not detected) | 5700/2025 | 02.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | < 10 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1219/2170/25 | 01.12.2025 | IPH — Institute of Public Health | Open
29 | GP072501-1 | P050292 | Grape Pie | 21.36 | 19.2 – 23.4 % | 0.11 | / | 6.62 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #018 / ППК25378 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25378 | 12.12.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.028 | 0.003 | 0.03 | 0.025 | Н.д. (not detected) | 5886/2025 | 12.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 6×10^3 | 6.5×10^3 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1228/2194/25 | 05.12.2025 | IPH — Institute of Public Health | Open
30 | GP072501-2 | P050302 | Grape Pie | 19.81 | 17.8 – 21.7 % | 0.10 | / | 7.41 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #019 / ППК25379 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25379 | 12.12.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.017 | 0.0028 | 0.02 | 0.019 | Н.д. (not detected) | 5887/2025 | 12.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2×10^2 | 3×10^2 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1229/2195/25 | 05.12.2025 | IPH — Institute of Public Health | Open
31 | GP082501-1 | P050312 | Grape Pie | 21.29 | 19.1 – 23.4 % | 0.08 | / | 6.29 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #020 / ППК25380 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25380 | 12.12.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.014 | 0.003 | 0.02 | 0.017 | Н.д. (not detected) | 5888/2025 | 12.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 4.3×10^2 | 1×10^3 | < 10^3 and > 10^2 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1226/2192/25 | 05.12.2025 | IPH — Institute of Public Health | Open
32 | GP082501-2 | P050322 | Grape Pie | 14.83 | 13.3 – 16.3 % | 0.11 | / | 6.88 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #021 / ППК25381 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК25381 | 12.12.2025 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.013 | 0.003 | 0.02 | 0.016 | Н.д. (not detected) | 5889/2025 | 12.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 3.2×10^3 | 5.8×10^3 | < 10^4 and > 10^3 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 1227/2193/25 | 05.12.2025 | IPH — Institute of Public Health | Open
|  |  |  | 15.70 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-12-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-12-М/26 | 10.08.2026 | Farmahem | Open
33 | WC082501 | P060012 | Wedding Crasher | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #035 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 21.67 | 19.5 – 23.83 % | 0.08 | / | 7.50 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26001 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | Н.д. | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 80/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 10 | 30 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 3/0006/26 | 20.01.2026 | IPH — Institute of Public Health | Open
34 | CJ082501-1 | P060022 | Cap Junky | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #041 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 24.96 | 22.46 – 27.45 % | 0.09 | / | 7.21 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26002 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.075 | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 81/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 1.5×10^2 | 1.3×10^2 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 8/0011/26 | 20.01.2026 | IPH — Institute of Public Health | Open
35 | CJ082501-2 | P060032 | Cap Junky | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #034 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 20.84 | 18.75 – 22.92 % | 0.08 | / | 7.37 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26003 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.073 | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 82/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 9.5×10^2 | 1.2×10^3 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 4/0007/26 | 20.01.2026 | IPH — Institute of Public Health | Open
|  |  |  | 18.29 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-5-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-5-М/26 | 10.08.2026 | Farmahem | Open
36 | OPM092501 | P060042 | Orange Punch Mimosa | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #040 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 9.43 | 8.48 – 10.37 % | 0.04 | / | 7.85 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26008 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.2 | not tested | not tested | 0.022 | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 87/2026 | 03.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 10 | 10 | < 10^2 and > 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 2/0005/26 | 20.01.2026 | IPH — Institute of Public Health | Open
37 | AB092501 | P060052 | Apple and Banana | 16.93 | 15.23 – 18.62 % | 0.07 | / | 6.77 | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #037 / ППК26005 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #037 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26005 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.05 | Н.д. | Н.д. | 0.003 | Н.д. (not detected) | 84/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | < 10 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 7/0010/26 | 20.01.2026 | IPH — Institute of Public Health | Open
38 | PM092501 | P060062 | Permanent Market | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #036 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 14.06 | 12.65 – 15.46 % | 0.05 | / | 7.97 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26004 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.03 | Н.д. | Н.д. | Н.д. | Н.д. (not detected) | 83/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | 2×10^3 | 2.2×10^3 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 6/0009/26 | 20.01.2026 | IPH — Institute of Public Health | Open
|  |  |  | 12.25 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-20-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-20-М/26 | 10.08.2026 | Farmahem | Open
39 | CJ092501 | P060072 | Cap Junky | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #039 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 22.30 | 20.07 – 24.53 % | 0.10 | / | 7.64 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26007 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.04 | Н.д. | Н.д. | 0.004 | Н.д. (not detected) | 86/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | < 10 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 10/0013/26 | 20.01.2026 | IPH — Institute of Public Health | Open
40 | SJ092501 | P060082 | Sleepy Joy | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #038 | 20.02.2026 | Purely Plant GmbH (in-house) | Open
|  |  |  | 10.96 | 9.86 – 12.05 % | 0.07 | / | 8.68 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26006 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2 | not tested | not tested | 0.08 | Н.д. | Н.д. | 0.003 | Н.д. (not detected) | 85/2026 | 02.02.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | < 10 | < 10 | < 10 | Odgovara (Absent) | Odgovara (Absent) | / | / | / | / | / | / | / | / | 9/0012/26 | 20.01.2026 | IPH — Institute of Public Health | Open
41 | GP092501 | P060092 | Grape Pie | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #033 | 20.02.2020 [see source] | Purely Plant GmbH (in-house) | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | PP CoA #033 |  | Purely Plant GmbH (in-house) | Open
|  |  |  | 25.73 | 23.15 – 28.3 % | 0.11 | / | 6.91 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26009 | 21.01.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | 1 x 10^2 | < 10 | < 10^2 and > 10 | Одговара (Complies/Absent) | Одговара (Complies/Absent) | / | / | / | / | / | / | / | / | 5/0008/26 | 20.01.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | < 2 | not tested | not tested | 0.022 | н.д. | н.д. | 0.007 | н.д. | 88/2026 | 03.02.2026 | IPH — Institute of Public Health | Open
42 | GRC102501-2 |  | Graps & Creme | / | / | / | / | 7.7 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-6-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 11.53 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-6-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
43 | J31102501 |  | Jokerz 31 | / | / | / | / | 6.3 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-1-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 19.14 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-1-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
44 | J31112501 |  | Jokerz 31 | / | / | / | / | 8.4 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-5-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 25.27 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-5-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | 7.6 | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-1-GS/26 | 09.04.2026 | Farmahem | Open
|  |  |  | 20.21 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-1-K/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
45 | KC102501 |  | Kush Crasher | / | / | / | / | 8.6 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-4-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 17.04 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-4-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
46 | SJ102501 |  | Sleepy Joy | / | / | / | / | 7.8 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-3-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 11.20 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-3-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
47 | SJ112501 |  | Sleepy Joy | / | / | / | / | 6.7 | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-2-GS/26 | 02.03.2026 | Farmahem | Open
|  |  |  | 9.20 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 051-2-K/26 | 04.03.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
48 | OPM112501 |  | Orange Punch Mimosa | 8.00 | / | 0.02 | / | 8.06 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26031 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
49 | PM112501 |  | Permanent Market | 13.33 | / | 0.03 | / | 8.61 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26030 | 05.03.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
50 | J31122501 |  | Jokerz 31 | 19.84 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-2-К/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | 10.3 | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-2-ГС/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | 850 | 370 | < 10^2 and > 10 | Одговара (Complies/Absent) | Одговара (Complies/Absent) | / | / | / | / | / | / | / | / | 231/0394/26 (Racno trimiran cvet) | 07.04.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.5 | not tested | not tested | н.д. | н.д. | н.д. | н.д. | н.д. | 1628/2026 | 23.04.2026 | IPH — Institute of Public Health | Open
|  |  |  | 21.84 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-3-К/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | 10.3 | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-3-ГС/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | 1900 | 840 | < 10^3 and > 10^2 | Одговара (Complies/Absent) | Одговара (Complies/Absent) | / | / | / | / | / | / | / | / | 230/0393/26 (Trimiran cvet) | 07.04.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | COMPLIES (numeric value not present in captured source excerpt for report 1625/2026 — see Bundle cross-reference) | not tested | not tested | / | / | / | / | н.д. | 1625/2026 | 23.04.2026 | IPH — Institute of Public Health | Open
51 | OPM122501 |  | Orange Punch Mimosa | 8.09 | / | < LOQ (<0.20) | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-4-К/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | 6.6 | / | / | / | / | / | / | / | / | / | / | / | / | / | 100-4-ГС/26 | 09.04.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | 120 | 100 | < 10 | Одговара (Complies/Absent) | Одговара (Complies/Absent) | / | / | / | / | / | / | / | / | 229/0392/26 | 07.04.2026 | IPH — Institute of Public Health | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | 2.2 | not tested | not tested | 0.049 | 0.165 | н.д. | н.д. | н.д. | 1627/2026 | 23.04.2026 | IPH — Institute of Public Health | Open
52 | CC112501 |  | Cash Cow | 13.35 | / | 0.04 | / | 7.39 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26068 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
53 | FB012601 |  | Fat Bastard | 14.68 | / | 0.04 | / | 7.67 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26067 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
54 | FB112501 |  | Fat Bastard | 16.69 | / | 0.05 | / | 6.09 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26066 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
55 | GG012601 |  | Gorilla Glue | 15.35 | / | 0.06 | / | 6.13 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26062 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
56 | GG112501 |  | Gorilla Glue | 17.94 | / | 0.08 | / | 6.31 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26061 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
57 | JD012601 |  | Jelly Donutz | 18.16 | / | 0.06 | / | 6.68 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26064 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
58 | JD112501 |  | Jelly Donutz | 19.64 | / | 0.06 | / | 6.69 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26063 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | 13.93 | / | 0.04 | / | 6.38 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26065 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
59 | SCR112501 |  | Scrambler | 17.13 | / | 0.04 | / | 6.84 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26069 | 11.05.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
60 | FB012603 |  | Fat Bastard | 20.83 | ≥ 5.00 % | 0.21 | 0.06 | 7.04 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26112 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | (not numbered)
61 | FB012603V |  | FatBastard | 18.29 | ≥ 5.00 % | 0.16 | 0.06 | 6.36 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26110 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
62 | GG012603 |  | GorillaGlue | 17.59 | ≥ 5.00 % | 0.05 | 0.15 | 6.48 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26114 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
63 | JD012603-02 |  | JellyDonutz | 20.54 | ≥ 5.00 % | 0.05 | 0.05 | 7.52 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26113 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
64 | JD012603-02V |  | JellyDonutz | 15.16 | ≥ 5.00 % | BLQ (below limit of quantification) | 0.04 | 7.04 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26111 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
65 | JD022601 |  | JellyDonutz | 18.58 | ≥ 5.00 % | BLQ (below limit of quantification) | 0.05 | 7.73 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26115 | 30.06.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
66 | P160012 | P160012 | GrapePie | 26.32 | ≥ 5.00 % | 0.15 | 0.09 | 6.31 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26117 | 06.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
67 | P160022 | P160022 | GrapePie | 25.72 | ≥ 5.00 % | 0.15 | 0.10 | 6.67 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26118 | 06.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
68 | P160032 | P160032 | GrapePie | 24.78 | ≥ 5.00 % | 0.06 | 0.08 | 6.78 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26119 | 06.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
69 | SCR022601 |  | Scrambler | 21.92 | ≥ 5.00 % | 0.19 | 0.06 | 7.06 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26116 | 06.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
70 | FB032601 |  | FatBastard | 12.39 | ≥ 5.00 % | 0.06 | 0.04 | 7.77 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26127 | 21.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
71 | GG032601 |  | GorillaGlue | 18.98 | ≥ 5.00 % | 0.25 | 0.04 | 7.88 | / | / | / | / | / | / | / | / | / | / | / | / | / | ППК26128 | 21.07.2026 | UKIM Faculty of Pharmacy — Center for Natural Products | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
72 | P060152 | P060152 | Jokerz31 | 17.32 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-16-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-16-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
73 | P060212 | P060212 | JellyDonutz | 20.32 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-15-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-15-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
74 | P060242 | P060242 | OrangePunchMimosa | 7.91 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-19-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-19-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
75 | P060332 | P060332 | CashCow | 17.67 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-6-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-6-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
76 | P060352 | P060352 | FatBastard | 18.86 | ≥ 5.00 % | 0.22 | < LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-7-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-7-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
77 | P060382 | P060382 | Scrambler | 17.84 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-21-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-21-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
78 | P060402 | P060402 | GorillaGlue | 16.70 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-8-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-8-М/26 | 10.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | n/a | n/a | n/a | Open
79 | HPA1024 |  | HighProAmnesia | 14.97 | 12.6 – 15.4 % | 0.04 | / | / | 5.2·10^4 | 7·10^2 | <10 | Absent | Absent | < 2 | not tested | not tested | 0.02 | 0.013 | 0.017 | 0.0026 | N.D. | n/a — Purely Plant in-house CoA (Batch HPA1024, no certificate/report number printed) | 23.01.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | 17.31 | ≥ 5.00 % | <LOQ | 0.36 | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-13-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | <LOQ | / | / | / | / | / | 197-13-М/26 | 10.08.2026 | Farmahem | Open
80 | OPM1024 |  | OrangePunchMimosa | 19.96 | 18.0 – 22.0 % | 0.05 | / | / | 1.3·10^4 | 7·10^2 | <10²>10³ | Absent | Absent | < 2 | not tested | not tested | 0.031 | 0.017 | 0.045 | 0.005 | N.D. | n/a — Purely Plant in-house CoA (Batch OPM1024, no certificate/report number printed) | 23.04.2025 | Purely Plant GmbH (in-house) | Open
|  |  |  | 20.03 | ≥ 5.00 % | <LOQ | <LOQ | / | / | / | / | / | / | / | / | / | / | / | / | / | / | 197-17-К/26 | 07.08.2026 | Farmahem | Open
|  |  |  | / | / | / | / | / | / | / | / | / | / | ND | ND | ND | / | / | / | / | / | 197-17-М/26 | 10.08.2026 | Farmahem | Open
LEGEND
n.d — not detected · BLQ — below limit of quantification · LOQ — limit of quantification
"/" — parameter not covered by that certificate
"not tested" — that mycotoxin sub-parameter (Aflatoxin B1 / Ochratoxin A) was not analysed on a certificate that assayed only total aflatoxins
Red — result the issuing laboratory declared out of specification
Amber — a laboratory finding or a data-integrity flag on the certificate
One row per certificate: a batch tested by several laboratories has one row each; batch identity is shown once and left blank on the continuation rows.
Note on I5: Scope note, 31.08.2026, from reading all 73 CNP certificates. This header states the Ph. Eur. monograph 07/2024:3028 limit of 12.00 %. Only 12 of the 73 CNP certificates are issued against that monograph. The other 61 print "Губиток при сушење <= 10.00 %" and were judged against 10.00 %. So for 61 of 73 rows the limit shown here is looser than the one the issuing laboratory applied. Nothing in the set is affected in fact — the highest reading is 9.68 % on ППК25370, under both — but 9.52 % and 9.68 % sit close to the limit that actually applied and comfortably inside the one shown. A check against this column is not a check against the certificate.
Note on H9: Corrected 31.08.2026 from the rendered page of 197-1-К/26. The certificate's table is Име ¦ Кратенка ¦ Резултат ¦ U. Total CBN reads 0.28 under Резултат and 0.02 under U. The register held 0.02 — the uncertainty, not the result. Confirmed at 2.6x magnification.
Note on W26: Certificate corrected 31.08.2026 from a rendered page. Two IJZ-MB certificates exist for GP0824-01, both 14.04.2025: 318/0585/25 — TAMC 4,2 x 10^3, TYMC 6 x 10^3 319/0586/25 — TAMC 5,2 x 10^3, TYMC 8,8 x 10^3 This row's TAMC matches 318, so it was carrying 318's results under 319's code, with 318's TYMC recorded a decade low. Code, TYMC and PDF link now all address 318/0585/25. OPEN FOR QC: 319/0586/25 is a real certificate for this batch and has no row of its own.
Note on U31: Corrected 31.08.2026 from the rendered page of 2156/2025. The certificate prints жива 0,001 mg/kg(l). The register held 0.011 — an inserted digit. Re-read at 2.2x magnification to be sure of the single digit. MaxDK on this certificate is 0,1, so both the old and the new value comply and the batch's disposition is unchanged.
Note on E41: Data-integrity flag on the SOURCE CORPUS, not on this batch. This value (18.27) is correct and matches the certificate: 0.41 + 20.37 x 0.877 = 18.27. The RAGFlow corpus holds a corrupted total of 1.87 for ППК25154. Flagged so the disagreement is visible; no deviation is implied.
Note on X43: Corrected 31.08.2026 from the rendered page of 588/1067/25. The certificate prints two dates: Дата на прием 13.06.2025 (receipt) in the head, and Дата: 18.06.2025 година above the signatures (issue). This column is Date of issue; it held the receipt date.
Note on W52: Filled 31.08.2026 from the rendered page of ППК26032 (month 6, 25C/60% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on H53: Read 31.08.2026 from the rendered page of ППК26033. CBN 2.35 % against the <= 1.00 % limit printed on this certificate. The sample was held at 40 C / 75 % RH; its Δ9-THCA has decarboxylated to near zero and the neutral cannabinoids have oxidised on to CBN. All four 40 C samples in the study are over the limit; every matched 25 C / 60 % RH sample reads 0.04-0.30 with THCA intact. Amber, not red: the certificate carries no verdict of any kind. Whether an accelerated-condition sample is expected to meet the release limit is a question for the stability protocol, not something this register can settle.
Note on W53: Filled 31.08.2026 from the rendered page of ППК26033 (month 6, 40C/75% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on W54: Filled 31.08.2026 from the rendered page of ППК26059 (month 9, 25C/60% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on W58: Filled 31.08.2026 from the rendered page of ППК26034 (month 6, 25C/60% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on H59: Read 31.08.2026 from the rendered page of ППК26035. CBN 2.15 % against the <= 1.00 % limit printed on this certificate. The sample was held at 40 C / 75 % RH; its Δ9-THCA has decarboxylated to near zero and the neutral cannabinoids have oxidised on to CBN. All four 40 C samples in the study are over the limit; every matched 25 C / 60 % RH sample reads 0.04-0.30 with THCA intact. Amber, not red: the certificate carries no verdict of any kind. Whether an accelerated-condition sample is expected to meet the release limit is a question for the stability protocol, not something this register can settle.
Note on W59: Filled 31.08.2026 from the rendered page of ППК26035 (month 6, 40C/75% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on W60: Filled 31.08.2026 from the rendered page of ППК26060 (month 9, 25C/60% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on W94: Filled 31.08.2026 from the rendered page of ППК26036 (month 3, 25C/60% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on H95: Read 31.08.2026 from the rendered page of ППК26037. CBN 1.09 % against the <= 1.00 % limit printed on this certificate. The sample was held at 40 C / 75 % RH; its Δ9-THCA has decarboxylated to near zero and the neutral cannabinoids have oxidised on to CBN. All four 40 C samples in the study are over the limit; every matched 25 C / 60 % RH sample reads 0.04-0.30 with THCA intact. Amber, not red: the certificate carries no verdict of any kind. Whether an accelerated-condition sample is expected to meet the release limit is a question for the stability protocol, not something this register can settle.
Note on W95: Filled 31.08.2026 from the rendered page of ППК26037 (month 3, 40C/75% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on W96: Filled 31.08.2026 from the rendered page of ППК26057 (month 6, 25C/60% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on H97: Read 31.08.2026 from the rendered page of ППК26058. CBN 2.05 % against the <= 1.00 % limit printed on this certificate. The sample was held at 40 C / 75 % RH; its Δ9-THCA has decarboxylated to near zero and the neutral cannabinoids have oxidised on to CBN. All four 40 C samples in the study are over the limit; every matched 25 C / 60 % RH sample reads 0.04-0.30 with THCA intact. Amber, not red: the certificate carries no verdict of any kind. Whether an accelerated-condition sample is expected to meet the release limit is a question for the stability protocol, not something this register can settle.
Note on W97: Filled 31.08.2026 from the rendered page of ППК26058 (month 6, 40C/75% RH). These four cells held "/", which this register's legend defines as "parameter not covered by that certificate". The certificate covers all four: it prints loss on drying, CBDA, CBD, CBN, Δ9-THC, Δ9-THCA, Вкупно CBD and Вкупно Δ9-THC. The total checks against the certificate's own footnote formula, Вкупно Δ9-THC = Δ9-THC + Δ9-THCA x 0.877.
Note on V109: Corrected 31.08.2026 from the rendered page of 10802_2845/2. The certificate's own footnote reads: "Забелешка: Анализата е направена врз основа на барањето за испитување на пестициди според cPh Eur." — one pharmacopoeia. The cell credited two: "COMPLIES with USP and Ph.Eur.". Ph. Eur. is supported; USP appears nowhere on the page, and has been removed. Confirmed at 2.4x magnification. The result is unchanged and is not in doubt: no pesticide above the 0,01 mg/kg limit of quantification, across 471 residues (265 by LC/MS/MS, 206 by GC/MS/MS, both МКС EN 15662:2011). Measurement uncertainty 50 % at k=2 and 95 %. Two things on this certificate are left for QC rather than changed here: · The MRL column reads "/" — the laboratory states no maximum residue level. "Complies" on this row means nothing was detected, not that a result sits below a limit. · The commissioning client is ЊУ ГАРДЕН ФАРМА (New Garden Pharma), not Purely Plant, and the sample is identified as "Blue Sunset Sherbet BSS 052501 NGP". The header numbers the report 10802_2845/2 while "Бр. на барање за анализа" on the same page reads 10802-2845/1.
Note on K118: Runs the same tighter производителска спецификација as 1220/2171/25 (TAMC 10^4, TYMC 10^2, GNB <= 10^2), not this column's 10^4. TYMC 90 against that 10^2 limit — compliant, and compliant against the tighter limit rather than the column's. Also tested, with no column here: S. aureus Одговара, P. aeruginosa Одговара.
Note on K122: TYMC 200 CFU/g against a PRINTED limit of 10^2 — 2x over. This certificate cites Ph.Eur. 5.1.8 Kat. C AND производителска спецификација, which is tighter than this column's header (TAMC 10^4 not 10^5, TYMC 10^2 not 10^4, GNB <= 10^2). The result therefore PASSES the column and FAILS its own paper. Confirmed on the rendered page 31.08.2026. Also tested, with no column here: S. aureus Одговара, P. aeruginosa Одговара. The certificate concludes ОДГОВАРА.
Note on X126: Corrected 31.08.2026 from the rendered page of 1219/2170/25. Дата на прием 26.11.2025 (receipt), Дата: 01.12.2025 година (issue). This column is Date of issue; it held the receipt date.
Note on W217: Page-verified 31.08.2026 against 230/0393/26. This report and its hand-trimmed sibling 231/0394/26 both print серија J31122501, matching this register and IPH 1625/2026. It settles the question the IPH pass left open: 1628/2026 prints J311122501, one digit longer, for the same batch sampled the same day. Two laboratories and three certificates say J31122501; one certificate says otherwise. The register is right.
Note on W260: Read 31.08.2026 from the rendered page of ППК26127. THIS BATCH FAILED. The certificate is the only one in the CNP set that carries a ЗАКЛУЧОК, and it concludes: "во однос на параметарот „Страни материи“, НЕ ОДГОВАРА на барањата пропишани во Ph. Eur. 11.5, монографија Cannabis flos (07/2024:3028), поради утврдено присуство на семе од канабис." Foreign matter reads 0.08 % against a maximum of 2.00 % — twenty-five times inside the limit — and is still marked (Не одговара). The operative half of the limit is its parenthetical, без присуство на семе и листови подолги од 1 cm, and it is not a number: seed was found, so the sample fails whatever the percentage. Every numeric value on this page is in specification. This register has no foreign-matter column and no verdict column, so nothing else on row 260 distinguishes it from a batch that passed. Adding those columns is a QC decision; this flag is here so the failure is not silent in the meantime.
Note on H276: Corrected 31.08.2026 from the rendered page of 197-7-К/26. The page reads Total CBD 0.22 and Total CBN < LOQ. The register had the two the other way round. Confirmed at 2.6x magnification.
Note on H286: Corrected 31.08.2026 from the rendered page of 197-13-К/26. The page reads Total CBN 0.36 (U 0.02). The register held N.D., which states the laboratory found nothing — it did not. Confirmed at 2.6x magnification.
Note on L288: Data-integrity flag, 31.08.2026. This cell reads "<10²>10³" — below 10² AND above 10³. No count can be both; the two bounds are the wrong way round whichever reading is intended. The microbiology pass found the same impossible construction on rows 92 and 142 and corrected both, because an IJZ-MB certificate said what the laboratory actually reported. This row has no such document: its own code cell reads "n/a — Purely Plant in-house CoA (Batch OPM1024, no certificate/report)". Two readings are plausible and this register cannot choose between them: · "< 10³ and > 10²", the standard IJZ-MB phrasing for a count between 100 and 1000 — the most likely intent, and what row 285's sibling batch would suggest; · "< 10² and > 10", a decade lower. Both comply with the <= 10⁴ limit, so the batch's disposition does not turn on it. Resolving the cell needs the underlying in-house record, not a guess.

## Stability Testing Programme
Purely Plant GmbH — Stability testing programme
ICH long-term (25 °C / 60 % RH) and accelerated (40 °C / 75 % RH) timepoint analyses, grouped by batch. These are stability-study results only — they are NOT batch-release results and must not be used as release or CoA-register values. Initial (t=0) release values are in the 'Batch Release QC' sheet. Values transcribed verbatim from the UKIM certificates held in RAGflow dataset STABILITY_PROGRAMME.
Seq | Batch | Variety | Timepoint | Storage condition | Report No. | Date of issue | Laboratory | Loss on drying | CBDA | CBD | CBN | Δ⁹-THC | Δ⁹-THCA | Total CBD | Total Δ⁹-THC | Remark
[7 empty] | Specification | ≤ 10.00 % | / | / | ≤ 1.00 % | / | / | / | / | /
P050022 Grape Pie 3 analyses timepoints: 6 mo, 9 mo
1 | P050022 | Grape Pie | 6 months | 25°C / 60% RH | ППК26032 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 6.32 | 0.04 |  | 0.23 | 12.23 | 10.34 | 0.04 | 21.31
2 | P050022 | Grape Pie | 6 months | 40°C / 75% RH | ППК26033 | 25.03.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | 5.84 | 0.03 | 0.03 | 2.35 | 13.16 | 0.01 | 0.06 | 13.16 | CBN 2.35 % exceeds the ≤ 1.00 % limit stated on the certificate
3 | P050022 | Grape Pie | 9 months | 25°C / 60% RH | ППК26059 | 11.05.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 6.62 | 0.03 | 0.01 | 0.3 | 11.49 | 13.22 | 0.03 | 23.08
P050072 Grape Pie 3 analyses timepoints: 6 mo, 9 mo
4 | P050072 | Grape Pie | 6 months | 25°C / 60% RH | ППК26034 | 05.03.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | 5.92 | 0.04 |  | 0.05 | 9.97 | 16.7 | 0.04 | 24.62
5 | P050072 | Grape Pie | 6 months | 40°C / 75% RH | ППК26035 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 5.52 | 0.03 | ND | 2.15 | 14.98 | BLQ | 0.02 | 14.99 | CBN 2.15 % exceeds the ≤ 1.00 % limit stated on the certificate
6 | P050072 | Grape Pie | 9 months | 25°C / 60% RH | ППК26060 | 11.05.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | 7.07 | 0.04 | 0.01 | 0.04 | 15.14 | 12.36 | 0.04 | 25.98
P050202 Grape Pie 4 analyses timepoints: 3 mo, 6 mo
7 | P050202 | Grape Pie | 3 months | 25°C / 60% RH | ППК26036 | 05.03.2026 | Универзитет ,,Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 5.83 | 0.05 |  | 0.05 | 7.9 | 17.03 | 0.05 | 22.83
8 | P050202 | Grape Pie | 3 months | 40°C / 75% RH | ППК26037 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 5.38 | 0.02 | 0.03 | 0.19 | 18.47 | 0.17 | 0.06 | 18.62
9 | P050202 | Grape Pie | 6 months | 25°C / 60% RH | ППК26057 | 11.05.2026 | Sts. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | 6.85 | 0.05 | 0.01 | 0.04 | 13.49 | 12.57 | 0.05 | 24.51
10 | P050202 | Grape Pie | 6 months | 40°C / 75% RH | ППК26058 | 11.05.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | 6.6 | 0.02 | 0.01 | 2.05 | 0.29 | 0.97 | 0.03 | 1.17 | CBN 2.05 % exceeds the ≤ 1.00 % limit stated on the certificate

## THC by Strain
Purely Plant GmbH — Total Δ⁹-THC by strain
Every production batch grouped by strain, with every Total Δ⁹-THC result on file, referenced to its certificate. BLQ / <LOQ values are shown but excluded from the numeric range. Stability-study results are included for completeness, shaded and marked 'STABILITY', and are excluded from the release range — a stability value is never a release value.
Seq | Batch number | P-number | Total Δ⁹-THC | Batch THC spec | CoA code | Date of issue | Issuing institution | Certificate
Apple and Banana 1 batch(es) Total Δ⁹-THC across batches (release): 16.93 %
1 | AB092501 | P060052 | 16.93% | 15.23 – 18.62 % | PP CoA #037 / ППК26005 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
Blue Gelato 1 batch(es) Total Δ⁹-THC across batches (release): 21.80 – 26.14 %
2 | BG1024 |  | 21.80% | / | ППК25050 | 26.02.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 26.14 %w/w (U 1.61) | ≥ 5.00 % | 197-1-К/26 | 07.08.2026 | Farmahem | Open
Blue Sunset Sherbet 3 batch(es) Total Δ⁹-THC across batches (release): 20.39 – 25.01 %
3 | BSS1024 |  | 21.03% | / | ППК25051 | 26.02.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 25.01 %w/w (U 1.54) | ≥ 5.00 % | 197-2-К/26 | 07.08.2026 | Farmahem | Open
4 | BSS1024_01 | P050122 | 23.42% | / | ППК25176 | 10.07.2025 | UKIM Faculty of Pharmacy | Open
5 | BSS052501 | P050192 | 20.39% | 19.8 – 24.2 % | In-house GC cross-check NGP/QCG/SOP-024 | 28.11.2025 | Purely Plant (in-house) | Open
Cash Cow 2 batch(es) Total Δ⁹-THC across batches (release): 13.35 – 17.67 %
6 | CC112501 |  | 13.35% |  | ППК26068 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
7 | P060332 | P060332 | 17.67 %w/w (U 1.09 %w/w, k=2) | ≥ 5.00 % | 197-6-К/26 | 07.08.2026 | Farmahem | Open
Clemosa a bud 1 batch(es) Total Δ⁹-THC across batches (release): 8.02 %
8 | CLE072501 | P050282 | 8.02% | 7.2 – 8.82 % | PP CoA #027 / ППК25370 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
Cup Junky 9 batch(es) Total Δ⁹-THC across batches (release): 14.93 – 24.96 %
9 | CJ1024 |  | 23.00% | / | ППК25052 | 26.02.2025 | UKIM Faculty of Pharmacy | Open
10 | CJ052501-1 | P050162 | 20.29% | / | ППК25280 | 17.09.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 24.05 %w/w (U 1.48) | ≥ 5.00 % | 197-3-К/26 | 07.08.2026 | Farmahem | Open
11 | CJ052501-2 | P050172 | 14.93% | / | ППК25281 | 17.09.2025 | UKIM Faculty of Pharmacy | Open
12 | CJ062501-2 | P050212 | 16.56% | 14.9 – 18.2 % | ППК25322 | 23.10.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 18.91% w/w (U 1.16% w/w) | ≥ 5.00 % | 197-4-К/26 | 07.08.2026 | Farmahem | Open
13 | CJ062501-1 | P050222 | 21.51% | n/a (informational) | ППК25321 | 23.10.2025 | UKIM Faculty of Pharmacy | Open
14 | CJ072501 | P050252 | 23.70% | n/a (informational) | ППК25367 | 28.11.2025 | UKIM Faculty of Pharmacy | Open
15 | CJ082501-1 | P060022 | 24.96% | 22.46 – 27.45 % | ППК26002 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
16 | CJ082501-2 | P060032 | 20.84% | 18.75 – 22.92 % | ППК26003 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
|  |  | 18.29% w/w (U 1.12% w/w) | ≥ 5.00 % | 197-5-К/26 | 07.08.2026 | Farmahem | Open
17 | CJ092501 | P060072 | 22.30% | 20.07 – 24.53 % | ППК26007 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
Fat Bastard 6 batch(es) Total Δ⁹-THC across batches (release): 12.39 – 20.83 %
18 | FB012601 |  | 14.68% |  | ППК26067 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
19 | FB112501 |  | 16.69% |  | ППК26066 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
20 | FB012603 |  | 20.83% | ≥ 5.00 % | ППК26112 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
21 | FB012603V |  | 18.29% | ≥ 5.00 % | ППК26110 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
22 | FB032601 |  | 12.39% | ≥ 5.00 % | ППК26127 | 21.07.2026 | UKIM Faculty of Pharmacy | Open
23 | P060352 | P060352 | 18.86 %w/w (U 1.16 %w/w, k=2) | ≥ 5.00 % | 197-7-К/26 | 07.08.2026 | Farmahem | Open
Gorilla Glue 7 batch(es) Total Δ⁹-THC across batches (release): 15.35 – 18.98 %
24 | GG1024_01 | P050092 | 17.22% | / | ППК25104 | 17.04.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 18.67 %w/w (U 1.15) | ≥ 5.00 % | 197-9-К/26 | 07.08.2026 | Farmahem | Open
25 | GG1024_02 | P050012 | 15.95% | / | ППК25140 | 22.05.2025 | UKIM Faculty of Pharmacy | Open
26 | GG012601 |  | 15.35% |  | ППК26062 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
27 | GG112501 |  | 17.94% |  | ППК26061 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
28 | GG012603 |  | 17.59% | ≥ 5.00 % | ППК26114 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
29 | GG032601 |  | 18.98% | ≥ 5.00 % | ППК26128 | 21.07.2026 | UKIM Faculty of Pharmacy | Open
30 | P060402 | P060402 | 16.70 %w/w (U 1.03 %w/w, k=2) | ≥ 5.00 % | 197-8-К/26 | 07.08.2026 | Farmahem | Open
Grape Pie 13 batch(es) Total Δ⁹-THC across batches (release): 14.83 – 26.32 %
31 | GP0824_01 | P050102 | 20.79% | / | ППК25105 | 17.04.2025 | UKIM Faculty of Pharmacy | Open
32 | GP0824_02 | P050022 | 23.19% | / | ППК25174 | 10.07.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 22.61 %w/w (U 1.39) | ≥ 5.00 % | 197-11-К/26 | 07.08.2026 | Farmahem | Open
|  |  | 21.31% (stability 6 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26032 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
|  |  | 13.16% (stability 6 mo, 40°C / 75% RH) | STABILITY — not a release value | ППК26033 | 25.03.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | Open
|  |  | 23.08% (stability 9 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26059 | 11.05.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
33 | GP0824_03 | P050072 | 25.45% | / | ППК25175 | 10.07.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 24.62% (stability 6 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26034 | 05.03.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | Open
|  |  | 14.99% (stability 6 mo, 40°C / 75% RH) | STABILITY — not a release value | ППК26035 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
|  |  | 25.98% (stability 9 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26060 | 11.05.2026 | Ss. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | Open
34 | GP052501 | P050152 | 18.98% | / | ППК25279 | 19.09.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 18.52 %w/w (U 1.14) | ≥ 5.00 % | 197-10-К/26 | 07.08.2026 | Farmahem | Open
35 | GP062501 | P050202 | 24.89% | 19.8 – 24.2 % | In-house HPLC cross-check NPCCC/SCP-02, NGP/QCG/SOP-024 | 28.11.2025 | Purely Plant (in-house) | Open
|  |  | 22.83% (stability 3 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26036 | 05.03.2026 | Универзитет ,,Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
|  |  | 18.62% (stability 3 mo, 40°C / 75% RH) | STABILITY — not a release value | ППК26037 | 05.03.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
|  |  | 24.51% (stability 6 mo, 25°C / 60% RH) | STABILITY — not a release value | ППК26057 | 11.05.2026 | Sts. Cyril and Methodius University, Skopje, Faculty of Pharmacy, Center for natural products | Open
|  |  | 1.17% (stability 6 mo, 40°C / 75% RH) | STABILITY — not a release value | ППК26058 | 11.05.2026 | Универзитет „Св. Кирил и Методиј“, Скопје, Фармацевтски факултет, Центар за природни производи | Open
36 | GP072501-1 | P050292 | 21.36% | 19.2 – 23.4 % | PP CoA #018 / ППК25378 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
37 | GP072501-2 | P050302 | 19.81% | 17.8 – 21.7 % | PP CoA #019 / ППК25379 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
38 | GP082501-1 | P050312 | 21.29% | 19.1 – 23.4 % | PP CoA #020 / ППК25380 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
39 | GP082501-2 | P050322 | 14.83% | 13.3 – 16.3 % | PP CoA #021 / ППК25381 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
|  |  | 15.70% w/w (U 0.96% w/w) | ≥ 5.00 % | 197-12-К/26 | 07.08.2026 | Farmahem | Open
40 | GP092501 | P060092 | 25.73% | 23.15 – 28.3 % | ППК26009 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
41 | P160012 | P160012 | 26.32% | ≥ 5.00 % | ППК26117 | 06.07.2026 | UKIM Faculty of Pharmacy | Open
42 | P160022 | P160022 | 25.72% | ≥ 5.00 % | ППК26118 | 06.07.2026 | UKIM Faculty of Pharmacy | Open
43 | P160032 | P160032 | 24.78% | ≥ 5.00 % | ППК26119 | 06.07.2026 | UKIM Faculty of Pharmacy | Open
Graps & Creme 1 batch(es) Total Δ⁹-THC across batches (release): 11.53 %
44 | GRC102501-2 |  | 11.53 %w/w (U ±0.71) | / | 051-6-K/26 | 04.03.2026 | Farmahem | Open
High Pro Amnesia 3 batch(es) Total Δ⁹-THC across batches (release): 14.97 – 22.43 %
45 | HPA1024_01 | P050052 | 22.43% | / | НИК22155 (likely OCR misread of ППК25xxx) | 24.06.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 21.61 %w/w (U 1.33) | ≥ 5.00 % | 197-14-К/26 | 07.08.2026 | Farmahem | Open
46 | HPA052501 | P050182 | 20.39% | / | ППК25278 | 19.09.2025 | UKIM Faculty of Pharmacy | Open
47 | HPA1024 |  | 14.97% | 12.6 – 15.4 % | n/a — Purely Plant in-house CoA (Batch HPA1024, no certificate/report number printed) | 23.01.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 17.31 %w/w (U 1.06 %w/w, k=2) | ≥ 5.00 % | 197-13-К/26 | 07.08.2026 | Farmahem | Open
Jelly Donutz 6 batch(es) Total Δ⁹-THC across batches (release): 13.93 – 20.54 %
48 | JD012601 |  | 18.16% |  | ППК26064 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
49 | JD112501 |  | 19.64% |  | ППК26063 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
|  |  | 13.93% |  | ППК26065 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
50 | JD012603-02 |  | 20.54% | ≥ 5.00 % | ППК26113 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
51 | JD012603-02V |  | 15.16% | ≥ 5.00 % | ППК26111 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
52 | JD022601 |  | 18.58% | ≥ 5.00 % | ППК26115 | 30.06.2026 | UKIM Faculty of Pharmacy | Open
53 | P060212 | P060212 | 20.32 %w/w (U 1.25 %w/w, k=2) | ≥ 5.00 % | 197-15-К/26 | 07.08.2026 | Farmahem | Open
Jokerz 31 4 batch(es) Total Δ⁹-THC across batches (release): 17.32 – 25.27 %
54 | J31102501 |  | 19.14 %w/w (U ±1.18) | / | 051-1-K/26 | 04.03.2026 | Farmahem | Open
55 | J31112501 |  | 25.27 %w/w (U ±1.55) | / | 051-5-K/26 | 04.03.2026 | Farmahem | Open
|  |  | 20.21 %w/w (U ±1.24) | / | 100-1-K/26 | 09.04.2026 | Farmahem | Open
56 | J31122501 |  | 19.84 %w/w (U ±1.22) | / | 100-2-К/26 | 09.04.2026 | Farmahem | Open
|  |  | 21.84 %w/w (U ±1.34) | / | 100-3-К/26 | 09.04.2026 | Farmahem | Open
57 | P060152 | P060152 | 17.32 %w/w (U 1.06 %w/w, k=2) | ≥ 5.00 % | 197-16-К/26 | 07.08.2026 | Farmahem | Open
Kush Crasher 1 batch(es) Total Δ⁹-THC across batches (release): 17.04 %
58 | KC102501 |  | 17.04 %w/w (U ±1.05) | / | 051-4-K/26 | 04.03.2026 | Farmahem | Open
Motor Breath 2 batch(es) Total Δ⁹-THC across batches (release): 16.82 – 18.67 %
59 | MB0824_04 | P050032 | 18.67% | / | ППК25118 | 06.05.2025 | UKIM Faculty of Pharmacy | Open
60 | MB0824_05 | P050112 | 16.82% | / | ППК25211 | 28.07.2025 | UKIM Faculty of Pharmacy | Open
Orange Punch Mimosa 9 batch(es) Total Δ⁹-THC across batches (release): 7.91 – 20.03 %
61 | OPM1024_01 | P050042 | 15.38% | / | ППК25117 | 06.05.2025 | UKIM Faculty of Pharmacy | Open
62 | OPM1024_02 | P050062 | 18.27% | / | ППК25154 | 24.06.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 18.04 %w/w (U 1.11) | ≥ 5.00 % | 197-18-К/26 | 07.08.2026 | Farmahem | Open
63 | OPM1024_03 | P050082 | 16.55% | / | ППК25210 | 28.07.2025 | UKIM Faculty of Pharmacy | Open
64 | OPM052501 | P050132 | 14.16% | / | ППК25257 | 05.09.2025 | UKIM Faculty of Pharmacy | Open
65 | OPM092501 | P060042 | 9.43% | 8.48 – 10.37 % | ППК26008 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
66 | OPM112501 |  | 8.00% | / | ППК26031 | 05.03.2026 | UKIM Faculty of Pharmacy | Open
67 | OPM122501 |  | 8.09 %w/w (U ±0.50) | / | 100-4-К/26 | 09.04.2026 | Farmahem | Open
68 | P060242 | P060242 | 7.91 %w/w (U 0.49 %w/w, k=2) | ≥ 5.00 % | 197-19-К/26 | 07.08.2026 | Farmahem | Open
69 | OPM1024 |  | 19.96% | 18.0 – 22.0 % | n/a — Purely Plant in-house CoA (Batch OPM1024, no certificate/report number printed) | 23.04.2025 | UKIM Faculty of Pharmacy | Open
|  |  | 20.03 %w/w (U 1.23 %w/w, k=2) | ≥ 5.00 % | 197-17-К/26 | 07.08.2026 | Farmahem | Open
Permanent Market 3 batch(es) Total Δ⁹-THC across batches (release): 10.01 – 14.06 %
70 | PM072501 | P050272 | 10.01% | 9 – 11.01 % | ППК25368 | 28.11.2025 | UKIM Faculty of Pharmacy | Open
71 | PM092501 | P060062 | 14.06% | 12.65 – 15.46 % | ППК26004 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
|  |  | 12.25% w/w (U 0.75% w/w) | ≥ 5.00 % | 197-20-К/26 | 07.08.2026 | Farmahem | Open
72 | PM112501 |  | 13.33% | / | ППК26030 | 05.03.2026 | UKIM Faculty of Pharmacy | Open
Scrambler 3 batch(es) Total Δ⁹-THC across batches (release): 17.13 – 21.92 %
73 | SCR112501 |  | 17.13% |  | ППК26069 | 11.05.2026 | UKIM Faculty of Pharmacy | Open
74 | SCR022601 |  | 21.92% | ≥ 5.00 % | ППК26116 | 06.07.2026 | UKIM Faculty of Pharmacy | Open
75 | P060382 | P060382 | 17.84 %w/w (U 1.10 %w/w, k=2) | ≥ 5.00 % | 197-21-К/26 | 07.08.2026 | Farmahem | Open
Sleepy Joy 3 batch(es) Total Δ⁹-THC across batches (release): 9.20 – 11.20 %
76 | SJ092501 | P060082 | 10.96% | 9.86 – 12.05 % | ППК26006 | 21.01.2026 | UKIM Faculty of Pharmacy | Open
77 | SJ102501 |  | 11.20 %w/w (U ±0.69) | / | 051-3-K/26 | 04.03.2026 | Farmahem | Open
78 | SJ112501 |  | 9.20 %w/w (U ±0.57) | / | 051-2-K/26 | 04.03.2026 | Farmahem | Open
Wedding Crasher 2 batch(es) Total Δ⁹-THC across batches (release): 21.67 – 22.11 %
79 | WC072501 | P050262 | 22.11% | n/a (informational) | ППК25369 | 28.11.2025 | UKIM Faculty of Pharmacy | Open
80 | WC082501 | P060012 | 21.67% | 19.5 – 23.83 % | ППК26001 | 21.01.2026 | UKIM Faculty of Pharmacy | Open