|  |  |  | Certificate of Analysis. Сертификат за анализа. Intermediate Bulk — Dry Cannabis Flower for Medical Use. Интермедиер балк — сув цвет од канабис за медицинска употреба.. |  | Document ID Код на документ. iCoA-PP_26-130. Issued · Издаден 17.08.2026.. |  |
| --- | --- | --- | --- | --- | --- | --- |

01 Cultivar, Batch & Sample Identification Сорта, серија и идентификација на примерок

|  | P050112.; ¦.; Motor Breath.. |  |
| --- | --- | --- |

|  | Phenotype Фенотип.; ☒ Hybrid.; ☐ Indica.; ☐ Sativa... |  | Chemotype Хемотип.; ☒ THC.; ☐ CBD... |  |
| --- | --- | --- | --- | --- |

|  | Production Batch № Производна серија №.; P050112.. |  | Cultivation Batch № Серија на култивација №.; MB0824_05.. |  | Monograph Монографија.; Ph. Eur. mon. 3028.. |  |
| --- | --- | --- | --- | --- | --- | --- |

|  | Examined on Испитано на.; 13.08.2026.. |  | Packaging Датум на пакување.; 25.08.2025.. |  | Product Specification № Спецификација на производ №.; QCSP_001_MB-I_v.01.. |  |
| --- | --- | --- | --- | --- | --- | --- |

Cannabis flos. · Ph. Eur. 11.5 mon. 3028 · Intermediate Bulk · Examined on the dried bulk before primary packaging and prior to sampling for release testing; issued after review. Испитано на балата пред примарното пакување и пред земање примерок за пуштање. Испитано на балата пред примарното пакување и пред земање примерок за пуштање.

02 Analytical Methods Аналитички методи

| 1.; Identification A · Appearance Идентиф. A · Изглед.. COMPENDIAL · VERIFIED · QCSOP 021 v.01.. Ph. Eur. mon. 3028 · Description.. Principle Принцип. Sample Примерок. Conditions Услови. Assessed Оценувано.; Visual and olfactory examination of the dried inflorescence against the monograph description Visual and olfactory examination of the dried inflorescence against the monograph description Visual and olfactory examination of the dried inflorescence against the monograph description. 5.0 g representative sub-sample, spread on a white ceramic tray representative sub-sample, spread on a white ceramic tray. Standardised lighting > 1 000 lux, D65 illuminant · Standardised lighting > 1 000 lux, D65 illuminant · 10× hand loupe. Colour · odour · form · texture and resin · bracts · trichome bloom Colour · odour · form · texture and resin · bracts · trichome bloom... | 2.; Identification B · Microscopy Идентиф. Б · Микроскопија.. COMPENDIAL · VERIFIED · QCSOP 022 v.01.. Ph. Eur. 2.8.23 · mon. 3028.. Principle Принцип. Sample Примерок. Equipment Опрема. Confirmation Потврда.; Detection of the species’ characteristic microscopic features — trichome types, cystoliths and resin — per Ph. Eur. 2.8.23 Detection of the species’ characteristic microscopic features — trichome types, cystoliths and resin — per Ph. Eur. 2.8.23 Detection of the species’ characteristic microscopic features — trichome types, cystoliths and resin — per Ph. Eur. 2.8.23. Powdered drug (355 µm sieve) in chloral hydrate R chloral hydrate R · n = 3 preparations. Olympus CX43 compound microscope · Cal-Cert 2026-03 · Olympus CX43 compound microscope · Cal-Cert 2026-03 · 100× / 200× / 400×. Cystoliths confirmed by HCl R effervescence under the slide effervescence under the slide... | 7.; Foreign Matter Страни материи.. COMPENDIAL · VERIFIED · QCSOP 005 v.02.. Ph. Eur. 2.8.2 · mon. 3028.. Principle Принцип. Sample Примерок. Examination Испитување. Equipment Опрема.; Foreign matter hand-separated into categories per Ph. Eur. 2.8.2 and weighed Foreign matter hand-separated into categories per Ph. Eur. 2.8.2 and weighed. Representative 50.0 g, spread on a stainless tray , spread on a stainless tray. Macroscopic + tactile at 10× · seeds searched · suspect particles dissected · seeds searched · suspect particles dissected. Balance Sartorius MSA225P · Cal-Cert 2026-04 · u(m) = 0.0002 g Balance Sartorius MSA225P · Cal-Cert 2026-04 · u(m) = 0.0002 g... |
| --- | --- | --- |

03 Findings — Per-Analysis Observation Record Најдени резултати — листа за проверка

A.; Identification A — Macroscopic examination. Идентиф. A — макроскопски.; Ph. Eur. mon. 3028 · unaided eye + 10× lens · D65.; Result Резултат.; Conforms Одговара.. Colour Боја. ☒. Deep green–brown-green Темно зелена–кафеава.. ☐. Green, purple bracts Зелена, лилеви..; ☐. Mid-green, amber Средно зелена.. ☐. Discoloured — atypical Обезбоена — атипична.... Texture & resin Текстура и смола. ☒. Dry, resinous; snaps Сува, смолна; кршлива.. ☐. Over-dry, friable Пресушена, ронлива..; ☐. Slightly pliable Малку еластична.. ☐. Damp — atypical Влажна — атипична....; Odour Мирис. ☐. Citrus, sharp Цитрусен, остар.. ☐. Sweet, fruity–berry Сладок, овошен..; ☐. Atypical — musty Атипичен — мувлосан.. ☒. Earthy, fuel, pungent Земјан, прониклив.... Bracts & stigmas Брактеи и стигми. ☐. Damaged Оштетени..; ☐. Green, immature Зелени, незрели..; ☒. Ovate, dentate Јајцевидни....; Inflorescence form Форма на соцветие. ☒. Compact cymes 1–4 cm Компактни 1–4 cm.. ☐. Loose or airy Растресити..; ☐. Moderately compact Умерено компактни.. ☐. Fragmented Фрагментирани.... Trichome bloom (10×) Трихоми (10×). ☒. Dense, amber Густи..; ☐. Moderate Умерени..; ☐. Sparse Слаби..... B.; Identification B — Microscopic examination. Идентиф. Б — микроскопски.; Ph. Eur. 2.8.23 · 100×–400× · chloral hydrate, HCl R.; Result Резултат.; Conforms Одговара.. Glandular trichomes — detected Glandular trichomes — detected Жлездени — детектирани Жлездени — детектирани. ☒. Detected Детектирани.. ☐. Not detected Нема....; Covering trichomes — detected Covering trichomes — detected Покровни — детектирани Покровни — детектирани. ☐. Not detected Нема.. ☒. Detected Детектирани....; Cystoliths · HCl R test Цистолити · HCl R. ☒. Detected + HCl Со HCl тест.. ☐. Not detected Нема....; Resin droplets on heads Смолни капки. ☐. Not seen Нема.. ☒. Present Присутни....; Plant fibres & vessels Растителни влакна. ☒. Typical of the species Типични за видот.. ☐. Not seen Нема....; Foreign tissue or mould Страно ткиво / мувла. ☐. Detected Детектирано.. ☒. None detected Не е детектирано..... C.; Foreign matter.; Страни материи.; Ph. Eur. 2.8.2 · 25–50 g spread and sorted · 0.0001 g.; Result Резултат.; Absent Отсутно.. Stems & stalks > 3 mm Стебла > 3 mm. ☒. None found Не се најдени..; ☐. Occasional Поединечни..; ☐. Frequent Чести.... Mineral — soil, sand, grit Минерални. ☒. None found Не се најдени..; ☐. Dust, brushes off Прашина..; ☐. Adherent Залепени....; Leaves > 1 cm Лисја > 1 cm. ☒. None found Не се најдени..; ☐. Occasional Поединечни..; ☐. Frequent Чести.... Animal — insects, parts Животински. ☒. None found Не се најдени..; ☐. Fragments only Само фрагменти..; ☐. Whole organisms Цели....; Seeds — whole & broken Семенки. ☒. None found Не се најдени..; ☐. Immature only Само незрели..; ☐. Mature present Зрели присутни.... Mould or discolouration Мувла / дисколор.. ☒. None observed Не е забележана..; ☐. Discolouration Дисколор...; ☐. Mycelium susp. Сомнеж мицел...... Extracted foreign mass g · % w/w Издвоена маса на страни материи.; ☒. No material extracted to weigh Нема издвоен материјал..; ☐. g · % — enter mass внеси измерена маса..; ☐. Exceeds — > 2.0% w/w Над границата....

04 Results, Acceptance Criteria & Disposition Резултати, критериуми и одлука

| № | Parameter Параметар | Method Метода | Acceptance Criteria Критериум | Disposition Одлука |
| --- | --- | --- | --- | --- |
| 1 | Identification A · Appearance Идентиф. A · Изглед | Ph. Eur. mon. 3028 · Description | Conforms to monograph | Conforms Одговара |
| 2 | Identification B · Microscopy Идентиф. Б · Микроскопија | Ph. Eur. 2.8.23 · mon. 3028 | Conforms to monograph | Conforms Одговара |
| 7 | Foreign Matter Страни материи | Ph. Eur. 2.8.2 · mon. 3028 | ≤ 2.0% / 25–50 g · < 1 cm leaves, no seeds ≤ 2.0% / 25–50 g · < 1 cm leaves, no seeds | Conforms Одговара |

☒ Conforms The tested sample conforms to the compendial requirements for Identification A, Identification B and Foreign Matter per Ph. Eur. 11.5 Monograph 3028, general chapters 2.8.23 and 2.8.2 — foreign matter Соодветствува per Ph. Eur. 11.5 Monograph 3028, general chapters 2.8.23 and 2.8.2 — foreign matter absent from the examined portion, against a ≤ 2.0% criterion. ☒ marks the outcome recorded for this batch and ☐ the alternatives available to the analyst. Macroscopic descriptors follow the cultivar’s profile; the microscopic detection set and the foreign-matter conformity statements are the same for every batch. No material was separated from the examined portion, so there was nothing to weigh; the mass field stays blank until a figure exists. Results relate only to the sample as received; this report may be reproduced only in full. Out-of-specification results are handled under the alternatives available to the analyst. Macroscopic descriptors follow the cultivar’s profile; the microscopic detection set and the foreign-matter conformity statements are the same for every batch. No material was separated from the examined portion, so there was nothing to weigh; the mass field stays blank until a figure exists. Results relate only to the sample as received; this report may be reproduced only in full. Out-of-specification results are handled under the alternatives available to the analyst. Macroscopic descriptors follow the cultivar’s profile; the microscopic detection set and the foreign-matter conformity statements are the same for every batch. No material was separated from the examined portion, so there was nothing to weigh; the mass field stays blank until a figure exists. Results relate only to the sample as received; this report may be reproduced only in full. Out-of-specification results are handled under the alternatives available to the analyst. Macroscopic descriptors follow the cultivar’s profile; the microscopic detection set and the foreign-matter conformity statements are the same for every batch. No material was separated from the examined portion, so there was nothing to weigh; the mass field stays blank until a figure exists. Results relate only to the sample as received; this report may be reproduced only in full. Out-of-specification results are handled under QCSOP 014, and a retention sample is held under QCSOP 009 / Annex 8. Резултатите се однесуваат само на примениот примерок; извештајот се репродуцира само во целост.

|  | Analysis Performed by Анализирал. Analyst · QC Laboratory Аналитичар. Hristina Cekikj. QC Laboratory. Date · Датум.; 17.08.2026... |  | Reviewed by Прегледал. QA Manager Менаџер за ОК. Jovana Romevska Cvetkovski. Master Pharmacist. Date · Датум.; 17.08.2026... |  | Approved by Одобрил. QC Manager Менаџер за КК. Blagoj Nikolov. M.Pharm · Drug Quality Control Specialist. Date · Датум.; 17.08.2026... |  |
| --- | --- | --- | --- | --- | --- | --- |

|  | Purely Plant DOOEL · Industriska ulica 9, br. 9, Kojlija 1043 · Petrovec-Skopje, North Macedonia MK GMP Certified Facility. 1 ¦ 1. QCSOP 011 v.02. |  |
| --- | --- | --- |